## ASWXL.Storage (hidden)
ASWXL Storage Version 25.0.0.1 | C:\Program Files (x86)\AspenTech\Aspen Simulation Workbook V7.3
UEsDBBQAAAAIAOaidUMq41e5pRAAAK/EAAAYAEIAQXNwZW5UZWNoLkFTV1hMLldvcmtib29rTlU2AE5VQ1gYAEEAcwBwAGUAbgBUAGUAYwBoAC4AQQBTAFcAWABMAC4AVwBvAHIAawBiAG8AbwBrAAoABAAAAAAA7F3pc9s2Frdj+YztOG3TM9lqNN2Z7k5s2em2zXpsdxw5aT21m9R2k2y3WxUmIQkNSagg6aP/1N73vd37vu9rZr/2ez9m8XiCFHVaFNmE9gjmAx6AHx4eHoAH0BoaHhoaust/4C/8TJ/iwafW9TrW9rBUW1jfvXV7a2Fdlol2MX8TM51QbfXSswuL/HfpYr5kKobJ8KqGTYMh5WL+hrmvEOllfLxH72BtdRFJ0rPPSIuXP1m5tHhZroxCPY+Gi79F2Z19Su/M8sSR8oE0XdaJairI4JXpZ8tIMsgB3vWipst1hiuYYU3C+nSZaMQgSCHvYnm2rCLdwGwDGWgXGw8HyQUH/zkhukQ1g1FFwWymzJBWxdtIQ1XMpstVRs36usSr0B8sI9OgKq9c2kPV1+oyMvCF8gZWsIH30L6Cb9WwZpFEq+5AKR8tmxbX1SMJK9dMTbKaAmzXedPd9kLToPxrGIEUt1E9lzuVG+K/uRwXRa4QFtRNxAjUVwLEVpnQXc+G2fxk3Y7xZRfM+VQ45w1PsEHG4Y+EOUF49iM8Ac/E0615fFED9/kw844gfWB4Iszwot8hFqTh4XyDnobECXzwmRyBAGQ6NTkKeSfHIITIcQgmeDD6AR8GrSoF9vEDpJi4XB6agGKhVI5jcgqyA9Fhh42VEWPoeKwsUVMzco1N3XTzffozlmStNpx2huho7kR9Hq78QkPlfk6x+mm3+tFOFQdEO7VFkXyNj2DKxp3hN1Giah0xzOZeQnqtRGV8g9EDImM2ARG7fCDnuAHRx26CrHUu5hFe6emJ87vHfNSqgZZuumU9FZXYUD405P1XL78A7ZiaAoFOzkAAhmcUVKKNmkMfP+Jakx2sUhjwTrMmb6vKrlTDKjrNnzZIpfIiQ+rI8PCsA83hs4R5BjpiDmzve6dWXjhSlfyBY1sLSwuLhTwXJOUmt7paMI3K/NJzhRfWZqZWjvRl3aohT+TVgoeqkDcQq2LjFaRivY4kvFqoGUZ9uVjk1dZNRhYoqxaBU8fG0sKRLhfyvEpNX1Z1Q9M75e641COf9fDwcOHwGYvz0uLiUvH29pYtIx8BN5OIN5NpTtv0eZVIjOq0YsxLVF3mfPM2l5+nzmi9fR7gKuSRYTCybxr4GmXqBq4gPmWtFt4x+YxRIZiD5nZbxZrRJJnLPZ8HyTtseY1LOSB8G9zypu4oxmrBYCb24l/TcclkfGgYW1RCCnaSrXLtkjniuoKP9o7r2Il14muUSDivEu26JJmMS5VrhoqOXMrU9vkQll2QfsYgVD5lueYEQIFUlgVtuyTmbg7IT9XxOyYM9FBSVNWbG54YdjCSr2vKcUg663xi3dQkZuVy0wxe8WqBl0Y0w+PsXseLHSCE8oQKda4rWjXmOjewLjFSByPVz6qDetIJEMvAChBkajpKMjAIr/HFm56sFF6FsW4cJwvCWmckC8FagA2wL1aKzYyJlRJthKwkB3cHVm+vmdVbvK+tXmoskKVzyULgi8SXeC9htkMPBSR8f6ZgxMUju2uCClL0wRpHDk3oqfThAzWGZRMyku3CK5Tx/ltnsBrq2zjqTRy3iGzUUtZNlhHcNY6VhEfaHjFSgQOGO68zBUg2NQ0zW3sT1NttzOtY1+QSjwoA8ZT3w74C2CK6EeOEb9UBs/4Ap/BSjSjygOvkM9D1SoXnGZCyxq4f665v4L5eDfpSSNQYlqhiqlqCdtCZFxKeEqoaZVhO4xKij9amewTh2XrQ9V/huQe8YojX/G1TGSuZY7AZwn47BrvXuNRs0sNuwgQgpMBNuEUPA4vjJKRQrycNIQV+SrA+ySK4gQJ7/AQQ+Ee0KfDfpWFglhSk1r1qS8gym05a3klM1YrKGstNUFtpqURdoprsnZeEYUMigUcs51NxqAKAnMmrFdYUzG/uIqhldwfWRx+uxSbfa7sakS0q4zttjrcTrx4ZmGlIib8nkziVF1T0XvBuudu77AQ0EmFqNlfZCWgbaKk+Ab2mkLpzvIYMU08Zuux8Njufzc5ns/PZD8EKJTuhzU5oozUkO6PNzmizM9rsjPZ+PKPdQ9VLlhHMzmejb3cJOD3XLk/Ju+fa+UTHw7asNMFodWpKUHJ52f62KEEmfwzOhRgNz5Zh8gCvakh8a8bDZ8e3niVidek3HTaRJyL2sEn8hSBrzEQCdMdM4oc18A64fR8hSoYpuKrAZdgEoC3DFEDMDhLjQercUok+B98iKjGSHd7OFZboE+8U4Gt/mcACaR/ORxv3VF0iSBNaeCfe/h8ByfZxkwtE3qQcWHUP9iAoYavMW77NRZBw96Bqgw8rZhgD2sVlrqzMlZW5sjJX1n3tysoupEQizC6kZBdSsisf2ZWP7MpHduXjnr3yEVwEZHc+sjsfTRbeA1kJJr3ks61Mwi6fa1RLeKnwiqnuY5aGRcsthup7+MgYoL2NnoK4zSeUlahCE37dE7RjwDDiNS/2mLuPjMwW0dKwwLuFSbWW8PC2FHlTk/HRvaLNtg/zPtLmbLbKZqvW2nFPzVY3GK0QBQff5cu8pJmXNP1eUuuOUSqRpdp/y/Ht7DUcTaYB2Sv0eoXLS0/QK7ZHVGxNNwdISfiOAkeSglt0mbc/8/Zn3v7M25/+1Wt29UmQSKI3W7LrV9n1qzaosutX99z1q10Ja4gRmrkQMhdCYLe5ef0KgkVQKrfCmX+jB2Rgu0r8A0WlEmCqHTDp/o9OKXDCZD6HzOeQ+Rwyn0O617mZv0GURqJ7OXun3+Sly8zxcX86PgbrYojZ5uA6YsigTN/UKjRGg2N9+QKvLdmu28ASUZEyUBz960Cb3/pmbSeuSQnQcFMjvEqn3da/8nkZ+/+v4gbjcmDHPCr4nd5uv8IX0VOWP6ojo7ZaWCgWra9bXw58H3cxkKdCsCK7GWxuGCNFEamNqRlIoXCQfolqvGcQjK04wEEVXcFz+5zL7FJ/5LgXjxy973fnqJ7tHpD1akN7UJ4VbMvpvVjQm7CX+iBsYf6MU9qfOCnU0BdbxYm1H2L1/sFNDKYAyoYxClYrBkBdD39Rds+fVHbhryOIGe9z/dLLAVisy71ASoXNCoyuxb6IPEa75b3PxoEJu8HejYH7f2diAwrC6C/YQYjX0rn+wo5pFDa+4diV7Q2/HZn0cLTcZX0RvON467e8hfd5+gJTfD+o72CF1zX6AlZ8/aPvYKPunpejJ0R/l/FK/6fNyDvwsbbWs2jlJrNRq/aefNKKvjbV9xYHbgQk0bHBKwmxtS/h3mx0SPejpXfwMcMV15Uvbngi6uOcmIU3WfGhF53OgVbYoJu1IqAOzVvRSm3ja1PDLNtBg4SpJKTqTlMa5q54xk3woLSLBgjTSxOb5DSkYV6L19CFJrwOWhI1h7RuUgezX7yN7EXjAoagdft6MQa9NkW49drb8IleApxsFPW4rOh5MAmL+8ZVvtOU0HYyxl1D9F6g4xbwijpphrBtG+QOqDvlCu8IT6ZWXe8v+2Gdo/biJzPNPe3uu7fLTVSqsRl9UKmBGl/BlXMCg9uNQ8j/ronu5N8csXfe1X+w/pd39Kbw/VX2ASh6YJrpYErudHUxeM2OcBmfQMN7cUD3Mnc1yr9tE7rqgpP60Lubsvq6EBrkCsg5qmk4uYkQ/1Jsp0BRR1xdz7f9nGljn2Pd3m0EHTiPjwVwL6oenJYiR2r3k9MArIxQSzPcvQl8sOYlcLHixMvhwZqWwP2VCLPyfCz3YNrak9BVJPs6k1TDKlobOzs0NPS/sRWZVCpVtmz/QWr+SFV4ybbzcbVgMs3JoM+rRGJUpxVjXqLqMuebt7kKTh67iHZ53IrmD7ipXfFkZJfR/sLW2oov9LyDnchiV/iXIxg9vA49C1e71lY2N9YWV4o8XAF/69qLlMorRetxpejnbl/+pYjyl+zyl4Tyr6Do4kMTh1hHKCm6IW6GGtJLNeu7O1YLRNMxMzBIp6FtQt2LQSTFUH3dYIsWQifYBLkIYJbaQQtedhSRBVN6Epp7wXHt4krRe17xLxyuLawUBWqlGKyTR3h6zJ9DI2ptdJyPtKfX9TrW9rBUW7B4F4B5wctWoprBqKJgNs2Zx8r0UMPs0XJgkeTzPGQngFn2I31uEuR+shzldPLTL5Rd1+6uYcrHodSHy4Ix9aPPOdFBDC4zCeP1dmkiXi8yWMhjfkKo0pzw82hYoLcou7NP6Z1TXIAXI6XdpP2nmnZPBLj2pZPG0p+JzNC6VyDfUmS+Vr0FuT4emSuyF4H9Yy3YG9veqvCIlkfLNUIbmsu1iZZAhvnWGSIaC5/JYQgehOAhCM5B8DAEj0DwKASPQfA4BE9AcB6CCzwYneDB+XC11iu120hDVbsWZ/xOlvUaxsY2qrdR1wvhxF3I55RaD+J+ElBM8SAfzrQuSVjXr2FkmAzyXeJMD6xLBjlABt4lqqkgePdxZl2WgxR8/RKq14lWdSjH6o7blD7N/7rdqz8AL5eoPK8E30dY56YWn7Vt6lXtgDCqwVpjxo7ZMTXoiDmb8is9U6L1Y7uLKFRg0fCwR63Y2Q2+ZjGwK6K5q0d1ygwB9KYKETeIBE2dsyk/ecqOgAJnNy0rzx8tZTjrke5YcBhc8hyvn1SOfYnYTF6sSLp5HtymBziUY9qJ8wmX+8wNZOqCLOZ2MNGIEYhQOX9DhF+DH+F01JQXoc96j3aDPdKr347x+nPWo63kGd5nftVnd2v0cAPrpKrtUarsIzYDMddZFWnkXcxmgeI5nESL9HPP7hq07pOP3ST40NJHUVVgVJ+FFD5QK6RqMot3AmK2KFcNeHD0CFgfANovE6LmIMr2sNhD0OJxG2iPigfFKEeMua5/nggPOWuxYNcAIzRLz9Kz9Cw9S8/So9LhM/zfu3fvfsA/I0D8xyGslH+LxL9E4p8i8Q+R+LtY2t9E4q8i8ReR+LNI/Ekk/igW/QeR+L1I/E4kfisSvxGJX4vEr0TilyLxC5H4uUj8TCR+KhI/EYkfi034kUj8UGR7TyR+IBLfF4nvicR3ReI7IvFtkfiWWOk3xZRviClfF1O+JqZ8VSS+IhJfFvN8SUz5okh8QSQ+L+b5nEh8ViDGTw9BFP/M8U/usbDybrrrJWCemRufdtlz8GnQ9U1/VWZlyM3NDNk/c7POQ+4MD2Z3j3UDqws37a/gg8LGytvobcr4H6LBnysmUeTJ8g4+IMACWSf4zymnmLvOzyjs4bre6o+XDWvh62zSRnLnHUAlYJEAv77wEtJrFlvHfhtvl7YDAbh8RmF32bFjYXjI2zfmuq/Uqu9cW3FE7NCnygfuViAuiex5CGGX3aszJO5+u+mhBDdAb66XuDHe9jCCl6JLR0/c4F73wIH3pHO3Uh80//E20gjpfR9qfKLp2I5wbvWhvvNNx3YT/1gf6gSHV/cutrjV7A0PH7jCWrvOhi0DR+A/30CNIy2hWKW/CdMUmPCWrFD91BZF8jUEx3jjzlw2UaJqHTHM5oCzxAXEzdoBkTGbgIhd8i7OvYyP9bGbSDGxPjQ0MjI0Onp6IqquTbesp6ISG8p//9XLL8DcODUFs/pkGYK3YL4G4wvtCTEgCPaB4WY0gwSBDAy3oxkwBBVgeD2aoQpBDRjeiGYgELwNDG9GM9yBQOHBXNmZ+ufech+Q+7DvPkjug+w+YPeh4j5U3Yea+0Dch7fdhzvug+I8nP4/AAAA//8DAFBLAQItABQAAAAIAOaidUMq41e5pRAAAK/EAAAYAGAAAAAAAAAAAAAAAAAAAABBc3BlblRlY2guQVNXWEwuV29ya2Jvb2tOVTgATlVDWBgAAABBAHMAcABlAG4AVABlAGMAaAAuAEEAUwBXAFgATAAuAFcAbwByAGsAYgBvAG8AawAKACAAAAAAAAEAGAB1TYQe7+bOAXVNhB7v5s4B/juDHu/mzgFQSwUGAAAAAAEAAQCmAAAAHREAAB4AQVNXWEwgU3RvcmFnZSBWZXJzaW9uIDI1LjAuMC4x

## Cost Estimation
Capital Equipment Costs
Boiler | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 13.4215
C1 | 339189000
S1 [MW] | 550 |  | 2102643
I2 | 630.2
I1 | 525.4
Capital Cost of Boiler | 33807637.0567
HP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 5.0215
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of HP Turbine | 1346211.6385
IP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 2.0969
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of IP Turbine | 749899.7436
LP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 15.3701
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of LP Turbine | 2848567.1723
District Heat Exchanger | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 126054.6211
U [W/m2 K] | 1200
A [m2] | 105.0455
I2 | 630.2
I1 | 525.4
Capital Cost of District Heat Exchanger | 43489.9807 |  | Vacuum Condensers | (24000+46*A^1.2)*(I2/I1)
|  |  | UA [W/K] | 12261753.5403
Vacuum Condensers | (24000+46*A^1.2)*(I2/I1) |  | U [W/m2 K] | 1200
UA [W/K] | 10702471.7026 |  | A [m2] | 10218.128
U [W/m2 K] | 1200 |  | Number of condensers | 10
A [m2] | 8918.7264 |  | A per condenser [m2] | 1021.8128
Number of condensers | 9
A per condenser [m2] | 990.9696
I2 | 630.2 |  | I2 | 630.2
I1 | 525.4 |  | I1 | 525.4
Capital Cost per Condenser | 246066.6138
Capital Cost of Vacuum Condensers | 2214599.5239 |  | Capital Cost per condenser | #DIV/0!
|  |  | Capital Cost of Vacuum Condensers | #DIV/0!
CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 15645.4517
U [W/m2 K] | 50
A [m2] | 312.909
I2 | 630.2
I1 | 525.4
Capital Cost of CO2 Cooler | 0
LP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 21301.1911
U [W/m2 K] | 100
A [m2] | 213.0119
I2 | 630.2
I1 | 525.4
Capital Cost of LP CO2 Cooler | 0
IP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 75330.383
U [W/m2 K] | 700
A [m2] | 107.6148
I2 | 630.2
I1 | 525.4
Capital Cost of IP CO2 Cooler | 0
LP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 960.7527
I2 | 913.9
I1 | 525.4
Capital Cost of LP CO2 Compressor | 0
IP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 987.0147
I2 | 913.9
I1 | 525.4
Capital Cost of IP CO2 Compressor | 0
HP CO2 Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 7.801
I2 | 913.9
I1 | 525.4
Capital Cost of HP CO2 Pump | 0
Main Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 15.1471 | 10.8022
I2 | 913.9
I1 | 525.4
Capital Cost of Main Water Pump | 16138.0367
LP Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 10.8022
I2 | 913.9
I1 | 525.4
Capital Cost of LP Water Pump | 15053.0839
District Heat Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 66.1806
I2 | 913.9
I1 | 525.4
Capital Cost of District Heat Water Pump | 27595.2431 |  | 5665.0925
Seawater Pump | (6900+206*V^0.9)*(I2/I1)
qtot [l/s ] | 5665.0925
I2 | 913.9
I1 | 525.4
Capital Cost of Seawater Pump | 867388.1033
Flue Gas Desulfurization | C*P*(I2/I1)
P [kW] | 13421.5471
C [$/kW] | 250
I2 | 692.9
I1 | 394.3
Capital Cost of Flue Gas Desulfurization | 5896392.351
CO2 Removal | C = x*C1*(I2/I1)
Capital Cost Without Carbon Capture [$] | 137770641.2732
Percent Increase with Carbon Capture | 87%
I2 | 499.6
I1 | 692.9
Capital Cost of CO2 Removal | 0
Installation factors
Equipment erection factor, fer | 0.5
Piping factor, fp | 0.6
Instrumentation and Control factor, fi | 0.3
Electrical factor, fel | 0.2
Civil factor, fc | 0.3
Structures and Building factor, fs | 0.2
Lagging and Paint factor, fl | 0.1
Material, fm: Carbon steel | 1
Material, fm: Stainless steal | 1.3
Boiler | 1.2
HP Turbine | 3.2
IP Turbine | 3.2
LP Turbine | 3.2
District Heat Exchanger | 3.2
Vacuum Condenser | 3.2
CO2 Cooler | 3.68
LP CO2 Cooler | 3.68
IP CO2 Cooler | 3.68
LP CO2 Compressor | 3.68
IP CO2 Compressor | 3.68
HP CO2 Pump | 3.68
Main Water Pump | 3.2
LP Water Pump | 3.2
District Heat Water Pump | 3.2
Seawater Pump | 3.68
Flue Gas Desulfurization | 1
CO2 Removal | 1
Installed Capital Costs
Boiler | 40569164.4681
HP Turbine | 4307877.2433
IP Turbine | 2399679.1795
LP Turbine | 9115414.9515
District Heat Exchanger | 139167.9383
Vacuum Condenser | 7086718.4764
CO2 Cooler | 0
LP CO2 Cooler | 0
IP CO2 Cooler | 0
LP CO2 Compressor | 0
IP CO2 Compressor | 0
HP CO2 Pump | 0
Main Water Pump | 51641.7174
LP Water Pump | 48169.8686
District Heat Water Pump | 88304.778
Seawater Pump | 3191988.2202
Flue Gas Desulfurization | 5896392.351
Offsites | 0.4
Design and Engineering | 0.25
Contingency | 0.1
Total fixed capital cost (without CO2 removal) | 137770641.2732
799069719.3848
Total fixed capital cost (with CO2 removal) | 137770641.2732
799069719.3848
Variable Costs
Labor
Number of units | 10
Number of operators | 3
Shifts per day | 6
Employed operators | 18
Salary per year | 433000
Labor costs per year | 7794000
Diesel consumption
Diesel consumption in 2012 [l] | 390417
Diesel consumption in 2011 [l] | 530287
Diesel consumption in 2010 [l] | 72907
Diesel consumption in 2009 [l] | 236728
Mean diesel consumption [l] | 307584.75
Price of diesel [kr/l] | 12
Diesel costs per year | 3691017
Coal consumption
Coal price [$/short tonne] | 65.5
Coal price [$/ton] | 72.2002
Coal consumption [ton/year] | 31000
Coal costs per year | 2238205.4674
Coal costs per year | 12981591.7108
Operations and Maintenance costs
O&M [$/kW] | 71
P [kW] | 13421.5471
Total O&M costs [$/year] | 952929.8472
Total O&M costs [NOK/year] | 5526993.1138
Cost of Chemicals
Chemicals [$/kWh] | 0.00359
P [kW] | 13421.5471
W [kWh] | 117572752.9794
Total O&M costs [$/year] | 422086.1832
Total O&M costs [NOK/year] | 2448099.8625
Total
Total variable costs [$/year] | 32441701.6871
Revenue
Price of electricity [kr/kWh] | 1
Price of district heating [kr/kWh] | 0.5
Total amount of electricity [kWh] | 83771908.3313
Total amount of district heating [kWh] | 105120000
Revenue from electricity | 83771908.3313
Revenue from district heating | 52560000
Total revenue | 136331908.3313
Working capital
Working capital
Value of raw materials in inventory (60 days) | 770351.5611
Spare parts (0.5 % of total plant cost) | 15981394.3877
Total Working Capital | 16751745.9488

## Investment Analysis
Regneark for beregning av nåverdi og/eller intern rente.
Verdier som må innsettes nedenfor er i fet kursiv. Velg avskrivningsprinsipp. | [7 empty] | Internrente kan bestemmes ved å endre D37 til D40 = 0 (Raskest åbestemme ved "Goal seek")
|  | År ---> | Grunnl.data | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Investement |  |  | 799069719.3848
working capital |  |  | 16751745.9488
1)Constant depreciation rate 10% |  |  | 10
2)Amount depreciation 20% |  |  | 20
Depreciation Factor ,amount depreciation | [5 empty] | 0.2 | 0.16 | 0.128 | 0.1024 | 0.08192 | 0.065536 | 0.052429 | 0.041943 | 0.033554 | 0.026844 | 0.021475 | 0.01718 | 0.013744 | 0.010995 | 0.0087961 | 0.0070369 | 0.0056295 | 0.0045036 | 0.0036029 | 0.0028823 | 0.0023058 | 0.0018447 | 0.0014757 | 0.0011806 | 0.00094447 | 0.00075558 | 0.00060446 | 0.00048357 | 0.00038686 | 0.00030949 | 0.00024759 | 0.00019807 | 0.00015846 | 0.00012677 | 0.00010141 | 8.113e-05 | 6.4904e-05 | 5.1923e-05 | 4.1538e-05 | 3.3231e-05 | 2.6585e-05 | 2.1268e-05 | 1.7014e-05 | 1.3611e-05 | 1.0889e-05 | 8.7112e-06 | 6.969e-06 | 5.5752e-06 | 4.4601e-06 | 3.5681e-06
Industrial investment |  |  |  | 0: -799069719.3848
Service capital |  |  |  | 0: -16751745.9488
Recover of service capital
Annual sale income |  |  | 136331908.3313 |  |  | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313 | 136331908.3313
Annual service expenses |  |  | 32441701.6871 |  |  | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871 | 32441701.6871
Brutto service result | [5 empty] | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442
Depreciation | [5 empty] | 239720915.8154 | 207758127.04 | 182187896.0197 | 161731711.2035 | 145366763.3505 | 132274805.0681 | 121801238.4422 | 113422385.1414 | 106719302.5008 | 101356836.3884 | 97066863.4984 | 93634885.1864 | 90889302.5368 | 88692836.4172 | 86935663.5214 | 85529925.2048 | 84405334.5516 | 83505662.0289 | 82785924.0108 | 82210133.5964 | 81749501.2648 | 81380995.3995 | 81086190.7073 | 80850346.9536 | 80661671.9505 | 80510731.9481 | 80389979.9462 | 80293378.3447 | 80216097.0634 | 80154272.0384 | 80104812.0184 | 80065244.0024 | 80033589.5897 | 80008266.0594 | 79988007.2352 | 79971800.1759 | 79958834.5284 | 79948462.0104 | 79940163.996 | 79933525.5845 | 79928214.8553 | 79923966.2719 | 79920567.4053 | 79917848.3119 | 79915673.0372 | 79913932.8175 | 79912540.6417 | 79911426.901 | 79910535.9085 | 79909823.1145
Result before taxes | [5 empty] | -135830709.1713 | -103867920.3959 | -78297689.3756 | -57841504.5593 | -41476556.7063 | -28384598.4239 | -17911031.798 | -9532178.4973 | -2829095.8567 | 2533370.2558 | 6823343.1458 | 10255321.4578 | 13000904.1073 | 15197370.227 | 16954543.1227 | 18360281.4393 | 19484872.0926 | 20384544.6152 | 21104282.6333 | 21680073.0478 | 22140705.3794 | 22509211.2446 | 22804015.9368 | 23039859.6906 | 23228534.6936 | 23379474.696 | 23500226.698 | 23596828.2995 | 23674109.5807 | 23735934.6057 | 23785394.6257 | 23824962.6417 | 23856617.0545 | 23881940.5847 | 23902199.4089 | 23918406.4683 | 23931372.1158 | 23941744.6337 | 23950042.6481 | 23956681.0596 | 23961991.7888 | 23966240.3722 | 23969639.2389 | 23972358.3323 | 23974533.6069 | 23976273.8267 | 23977666.0025 | 23978779.7431 | 23979670.7356 | 23980383.5296
Tax,Percentaje 28% |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net profit | [5 empty] | -135830709.1713 | -103867920.3959 | -78297689.3756 | -57841504.5593 | -41476556.7063 | -28384598.4239 | -17911031.798 | -9532178.4973 | -2829095.8567 | 2533370.2558 | 6823343.1458 | 10255321.4578 | 13000904.1073 | 15197370.227 | 16954543.1227 | 18360281.4393 | 19484872.0926 | 20384544.6152 | 21104282.6333 | 21680073.0478 | 22140705.3794 | 22509211.2446 | 22804015.9368 | 23039859.6906 | 23228534.6936 | 23379474.696 | 23500226.698 | 23596828.2995 | 23674109.5807 | 23735934.6057 | 23785394.6257 | 23824962.6417 | 23856617.0545 | 23881940.5847 | 23902199.4089 | 23918406.4683 | 23931372.1158 | 23941744.6337 | 23950042.6481 | 23956681.0596 | 23961991.7888 | 23966240.3722 | 23969639.2389 | 23972358.3323 | 23974533.6069 | 23976273.8267 | 23977666.0025 | 23978779.7431 | 23979670.7356 | 23980383.5296
Despreciation | [5 empty] | 239720915.8154 | 207758127.04 | 182187896.0197 | 161731711.2035 | 145366763.3505 | 132274805.0681 | 121801238.4422 | 113422385.1414 | 106719302.5008 | 101356836.3884 | 97066863.4984 | 93634885.1864 | 90889302.5368 | 88692836.4172 | 86935663.5214 | 85529925.2048 | 84405334.5516 | 83505662.0289 | 82785924.0108 | 82210133.5964 | 81749501.2648 | 81380995.3995 | 81086190.7073 | 80850346.9536 | 80661671.9505 | 80510731.9481 | 80389979.9462 | 80293378.3447 | 80216097.0634 | 80154272.0384 | 80104812.0184 | 80065244.0024 | 80033589.5897 | 80008266.0594 | 79988007.2352 | 79971800.1759 | 79958834.5284 | 79948462.0104 | 79940163.996 | 79933525.5845 | 79928214.8553 | 79923966.2719 | 79920567.4053 | 79917848.3119 | 79915673.0372 | 79913932.8175 | 79912540.6417 | 79911426.901 | 79910535.9085 | 79909823.1145
Net cash flow |  |  |  |  | -799069719.3848 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442 | 103890206.6442
Accumulated cash flow | Net cash flow |  |  | 0 | -815821465.3336 | -711931258.6894 | -608041052.0452 | -504150845.4011 | -400260638.7569 | -296370432.1128 | -192480225.4686 | -88590018.8245 | 15300187.8197 | 119190394.4639 | 223080601.108 | 326970807.7522 | 430861014.3963 | 534751221.0405 | 638641427.6846 | 742531634.3288 | 846421840.973 | 950312047.6171 | 1054202254.2613 | 1158092460.9054 | 1261982667.5496 | 1365872874.1938 | 1469763080.8379 | 1573653287.4821 | 1677543494.1262 | 1781433700.7704 | 1885323907.4145 | 1989214114.0587 | 2093104320.7029 | 2196994527.347 | 2300884733.9912 | 2404774940.6353 | 2508665147.2795 | 2612555353.9236 | 2716445560.5678 | 2820335767.212 | 2924225973.8561 | 3028116180.5003 | 3132006387.1444 | 3235896593.7886 | 3339786800.4327 | 3443677007.0769 | 3547567213.7211 | 3651457420.3652 | 3755347627.0094 | 3859237833.6535 | 3963128040.2977 | 4067018246.9418 | 4170908453.586 | 4274798660.2302 | 4395440612.8231
Test1 :
Discount factor at 10 % |  |  |  |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864 | 0.13513 | 0.12285 | 0.11168 | 0.10153 | 0.092296 | 0.083905 | 0.076278 | 0.069343 | 0.063039 | 0.057309 | 0.052099 | 0.047362 | 0.043057 | 0.039143 | 0.035584 | 0.032349 | 0.029408 | 0.026735 | 0.024304 | 0.022095 | 0.020086 | 0.01826 | 0.0166 | 0.015091 | 0.013719 | 0.012472 | 0.011338 | 0.010307 | 0.0093704 | 0.0085186
Discount NKS |  |  |  |  | -799069719.3848 | 94445642.4038 | 85859674.9125 | 78054249.9205 | 70958409.0186 | 64507644.5624 | 58643313.2385 | 53312102.9441 | 48465548.131 | 44059589.21 | 40054172.0091 | 36412883.6446 | 33102621.4951 | 30093292.2683 | 27357538.4257 | 24870489.4779 | 22609535.889 | 20554123.5355 | 18685566.8504 | 16986878.9549 | 15442617.2318 | 14038742.938 | 12762493.58 | 11602266.8909 | 10547515.3553 | 9588650.323 | 8716954.8391 | 7924504.3992 | 7204094.9084 | 6549177.1894 | 5953797.4449 | 5412543.1318 | 4920493.7561 | 4473176.142 | 4066523.7654 | 3696839.7867 | 3360763.4425 | 3055239.4932 | 2777490.4483 | 2524991.3167 | 2295446.6515 | 2086769.6832 | 1897063.3484 | 1724603.044 | 1567820.9491 | 1425291.7719 | 1295719.7926 | 1177927.0842 | 1070842.8038 | 973493.458 | 884994.0527 | 230982406.5294
Current value |  |  |  | 0: 230982406.5294
Test 2:
Discount factor at 20 % |  |  |  |  | 1 | 0.83333 | 0.69444 | 0.5787 | 0.48225 | 0.40188 | 0.3349 | 0.27908 | 0.23257 | 0.19381 | 0.16151 | 0.13459 | 0.11216 | 0.093464 | 0.077887 | 0.064905 | 0.054088 | 0.045073 | 0.037561 | 0.031301 | 0.026084 | 0.021737 | 0.018114 | 0.015095 | 0.012579 | 0.010483 | 0.0087355 | 0.0072796 | 0.0060663 | 0.0050553 | 0.0042127 | 0.0035106 | 0.0029255 | 0.0024379 | 0.0020316 | 0.001693 | 0.0014108 | 0.0011757 | 0.00097974 | 0.00081645 | 0.00068038 | 0.00056698 | 0.00047248 | 0.00039374 | 0.00032811 | 0.00027343 | 0.00022786 | 0.00018988 | 0.00015823 | 0.00013186 | 0.00010988
Discount NKS |  |  |  |  | -799069719.3848 | 86575172.2035 | 72145976.8362 | 60121647.3635 | 50101372.8029 | 41751144.0024 | 34792620.002 | 28993850.0017 | 24161541.6681 | 20134618.0567 | 16778848.3806 | 13982373.6505 | 11651978.0421 | 9709981.7017 | 8091651.4181 | 6743042.8484 | 5619202.3737 | 4682668.6447 | 3902223.8706 | 3251853.2255 | 2709877.6879 | 2258231.4066 | 1881859.5055 | 1568216.2546 | 1306846.8788 | 1089039.0657 | 907532.5547 | 756277.1289 | 630230.9408 | 525192.4507 | 437660.3755 | 364716.9796 | 303930.8164 | 253275.6803 | 211063.0669 | 175885.8891 | 146571.5742 | 122142.9785 | 101785.8154 | 84821.5129 | 70684.5941 | 58903.8284 | 49086.5237 | 40905.4364 | 34087.8636 | 28406.553 | 23672.1275 | 19726.7729 | 16438.9775 | 13699.1479 | 11415.9566 | -279675765.9468
Current value |  |  |  | 0: -279675765.9468
Discount factor at rentage |  |  | 11.1322 |  | 1 | 0.89983 | 0.80969 | 0.72859 | 0.6556 | 0.58993 | 0.53084 | 0.47766 | 0.42981 | 0.38676 | 0.34802 | 0.31316 | 0.28179 | 0.25356 | 0.22816 | 0.20531 | 0.18474 | 0.16623 | 0.14958 | 0.1346 | 0.12112 | 0.10898 | 0.098067 | 0.088243 | 0.079404 | 0.07145 | 0.064293 | 0.057853 | 0.052057 | 0.046843 | 0.04215 | 0.037928 | 0.034129 | 0.03071 | 0.027634 | 0.024866 | 0.022375 | 0.020134 | 0.018117 | 0.016302 | 0.014669 | 0.0132 | 0.011877 | 0.010688 | 0.0096171 | 0.0086537 | 0.0077869 | 0.0070069 | 0.006305 | 0.0056734 | 0.0051051
Discount NKS |  |  |  |  | -799069719.3848 | 93483442.8223 | 84119132.7287 | 75692852.9523 | 68110640.2576 | 61287943.7801 | 55148682.1822 | 49624395.2538 | 44653480.4978 | 40180506.1879 | 36155593.2375 | 32533858.9873 | 29274916.7094 | 26342425.2462 | 23703683.7624 | 21329267.0912 | 19192697.6081 | 17270149.9728 | 15540185.4484 | 13983512.8328 | 12582773.3391 | 11322347.0237 | 10188178.6051 | 9167620.7302 | 8249292.9413 | 7422954.7704 | 6679391.5448 | 6010311.6332 | 5408253.9833 | 4866504.9223 | 4379023.2915 | 3940373.0795 | 3545662.8048 | 3190490.9691 | 2870896.9759 | 2583316.9648 | 2324544.0698 | 2091692.6596 | 1882166.1585 | 1693628.092 | 1523976.0322 | 1371318.1528 | 1233952.1334 | 1110346.1763 | 999121.9254 | 899039.0952 | 808981.641 | 727945.3129 | 655026.4575 | 589411.9414 | 530370.083 | 129406561.684
Internal rent |  |  | 40
Current value |  |  | 129406561.684 | 0: Goal seek:"Set cell d40 to 0 by changing cell d37"