## ASWXL.Storage (hidden)
ASWXL Storage Version 25.0.0.1 | C:\Program Files (x86)\AspenTech\Aspen Simulation Workbook V7.3
UEsDBBQAAAAIALOqdUMq41e5pRAAAK/EAAAYAEIAQXNwZW5UZWNoLkFTV1hMLldvcmtib29rTlU2AE5VQ1gYAEEAcwBwAGUAbgBUAGUAYwBoAC4AQQBTAFcAWABMAC4AVwBvAHIAawBiAG8AbwBrAAoABAAAAAAA7F3pc9s2Frdj+YztOG3TM9lqNN2Z7k5s2em2zXpsdxw5aT21m9R2k2y3WxUmIQkNSagg6aP/1N73vd37vu9rZr/2ez9m8XiCFHVaFNmE9gjmAx6AHx4eHoAH0BoaHhoaust/4C/8TJ/iwafW9TrW9rBUW1jfvXV7a2Fdlol2MX8TM51QbfXSswuL/HfpYr5kKobJ8KqGTYMh5WL+hrmvEOllfLxH72BtdRFJ0rPPSIuXP1m5tHhZroxCPY+Gi79F2Z19Su/M8sSR8oE0XdaJairI4JXpZ8tIMsgB3vWipst1hiuYYU3C+nSZaMQgSCHvYnm2rCLdwGwDGWgXGw8HyQUH/zkhukQ1g1FFwWymzJBWxdtIQ1XMpstVRs36usSr0B8sI9OgKq9c2kPV1+oyMvCF8gZWsIH30L6Cb9WwZpFEq+5AKR8tmxbX1SMJK9dMTbKaAmzXedPd9kLToPxrGIEUt1E9lzuVG+K/uRwXRa4QFtRNxAjUVwLEVpnQXc+G2fxk3Y7xZRfM+VQ45w1PsEHG4Y+EOUF49iM8Ac/E0615fFED9/kw844gfWB4Iszwot8hFqTh4XyDnobECXzwmRyBAGQ6NTkKeSfHIITIcQgmeDD6AR8GrSoF9vEDpJi4XB6agGKhVI5jcgqyA9Fhh42VEWPoeKwsUVMzco1N3XTzffozlmStNpx2huho7kR9Hq78QkPlfk6x+mm3+tFOFQdEO7VFkXyNj2DKxp3hN1Giah0xzOZeQnqtRGV8g9EDImM2ARG7fCDnuAHRx26CrHUu5hFe6emJ87vHfNSqgZZuumU9FZXYUD405P1XL78A7ZiaAoFOzkAAhmcUVKKNmkMfP+Jakx2sUhjwTrMmb6vKrlTDKjrNnzZIpfIiQ+rI8PCsA83hs4R5BjpiDmzve6dWXjhSlfyBY1sLSwuLhTwXJOUmt7paMI3K/NJzhRfWZqZWjvRl3aohT+TVgoeqkDcQq2LjFaRivY4kvFqoGUZ9uVjk1dZNRhYoqxaBU8fG0sKRLhfyvEpNX1Z1Q9M75e641COf9fDwcOHwGYvz0uLiUvH29pYtIx8BN5OIN5NpTtv0eZVIjOq0YsxLVF3mfPM2l5+nzmi9fR7gKuSRYTCybxr4GmXqBq4gPmWtFt4x+YxRIZiD5nZbxZrRJJnLPZ8HyTtseY1LOSB8G9zypu4oxmrBYCb24l/TcclkfGgYW1RCCnaSrXLtkjniuoKP9o7r2Il14muUSDivEu26JJmMS5VrhoqOXMrU9vkQll2QfsYgVD5lueYEQIFUlgVtuyTmbg7IT9XxOyYM9FBSVNWbG54YdjCSr2vKcUg663xi3dQkZuVy0wxe8WqBl0Y0w+PsXseLHSCE8oQKda4rWjXmOjewLjFSByPVz6qDetIJEMvAChBkajpKMjAIr/HFm56sFF6FsW4cJwvCWmckC8FagA2wL1aKzYyJlRJthKwkB3cHVm+vmdVbvK+tXmoskKVzyULgi8SXeC9htkMPBSR8f6ZgxMUju2uCClL0wRpHDk3oqfThAzWGZRMyku3CK5Tx/ltnsBrq2zjqTRy3iGzUUtZNlhHcNY6VhEfaHjFSgQOGO68zBUg2NQ0zW3sT1NttzOtY1+QSjwoA8ZT3w74C2CK6EeOEb9UBs/4Ap/BSjSjygOvkM9D1SoXnGZCyxq4f665v4L5eDfpSSNQYlqhiqlqCdtCZFxKeEqoaZVhO4xKij9amewTh2XrQ9V/huQe8YojX/G1TGSuZY7AZwn47BrvXuNRs0sNuwgQgpMBNuEUPA4vjJKRQrycNIQV+SrA+ySK4gQJ7/AQQ+Ee0KfDfpWFglhSk1r1qS8gym05a3klM1YrKGstNUFtpqURdoprsnZeEYUMigUcs51NxqAKAnMmrFdYUzG/uIqhldwfWRx+uxSbfa7sakS0q4zttjrcTrx4ZmGlIib8nkziVF1T0XvBuudu77AQ0EmFqNlfZCWgbaKk+Ab2mkLpzvIYMU08Zuux8Njufzc5ns/PZD8EKJTuhzU5oozUkO6PNzmizM9rsjPZ+PKPdQ9VLlhHMzmejb3cJOD3XLk/Ju+fa+UTHw7asNMFodWpKUHJ52f62KEEmfwzOhRgNz5Zh8gCvakh8a8bDZ8e3niVidek3HTaRJyL2sEn8hSBrzEQCdMdM4oc18A64fR8hSoYpuKrAZdgEoC3DFEDMDhLjQercUok+B98iKjGSHd7OFZboE+8U4Gt/mcACaR/ORxv3VF0iSBNaeCfe/h8ByfZxkwtE3qQcWHUP9iAoYavMW77NRZBw96Bqgw8rZhgD2sVlrqzMlZW5sjJX1n3tysoupEQizC6kZBdSsisf2ZWP7MpHduXjnr3yEVwEZHc+sjsfTRbeA1kJJr3ks61Mwi6fa1RLeKnwiqnuY5aGRcsthup7+MgYoL2NnoK4zSeUlahCE37dE7RjwDDiNS/2mLuPjMwW0dKwwLuFSbWW8PC2FHlTk/HRvaLNtg/zPtLmbLbKZqvW2nFPzVY3GK0QBQff5cu8pJmXNP1eUuuOUSqRpdp/y/Ht7DUcTaYB2Sv0eoXLS0/QK7ZHVGxNNwdISfiOAkeSglt0mbc/8/Zn3v7M25/+1Wt29UmQSKI3W7LrV9n1qzaosutX99z1q10Ja4gRmrkQMhdCYLe5ef0KgkVQKrfCmX+jB2Rgu0r8A0WlEmCqHTDp/o9OKXDCZD6HzOeQ+Rwyn0O617mZv0GURqJ7OXun3+Sly8zxcX86PgbrYojZ5uA6YsigTN/UKjRGg2N9+QKvLdmu28ASUZEyUBz960Cb3/pmbSeuSQnQcFMjvEqn3da/8nkZ+/+v4gbjcmDHPCr4nd5uv8IX0VOWP6ojo7ZaWCgWra9bXw58H3cxkKdCsCK7GWxuGCNFEamNqRlIoXCQfolqvGcQjK04wEEVXcFz+5zL7FJ/5LgXjxy973fnqJ7tHpD1akN7UJ4VbMvpvVjQm7CX+iBsYf6MU9qfOCnU0BdbxYm1H2L1/sFNDKYAyoYxClYrBkBdD39Rds+fVHbhryOIGe9z/dLLAVisy71ASoXNCoyuxb6IPEa75b3PxoEJu8HejYH7f2diAwrC6C/YQYjX0rn+wo5pFDa+4diV7Q2/HZn0cLTcZX0RvON467e8hfd5+gJTfD+o72CF1zX6AlZ8/aPvYKPunpejJ0R/l/FK/6fNyDvwsbbWs2jlJrNRq/aefNKKvjbV9xYHbgQk0bHBKwmxtS/h3mx0SPejpXfwMcMV15Uvbngi6uOcmIU3WfGhF53OgVbYoJu1IqAOzVvRSm3ja1PDLNtBg4SpJKTqTlMa5q54xk3woLSLBgjTSxOb5DSkYV6L19CFJrwOWhI1h7RuUgezX7yN7EXjAoagdft6MQa9NkW49drb8IleApxsFPW4rOh5MAmL+8ZVvtOU0HYyxl1D9F6g4xbwijpphrBtG+QOqDvlCu8IT6ZWXe8v+2Gdo/biJzPNPe3uu7fLTVSqsRl9UKmBGl/BlXMCg9uNQ8j/ronu5N8csXfe1X+w/pd39Kbw/VX2ASh6YJrpYErudHUxeM2OcBmfQMN7cUD3Mnc1yr9tE7rqgpP60Lubsvq6EBrkCsg5qmk4uYkQ/1Jsp0BRR1xdz7f9nGljn2Pd3m0EHTiPjwVwL6oenJYiR2r3k9MArIxQSzPcvQl8sOYlcLHixMvhwZqWwP2VCLPyfCz3YNrak9BVJPs6k1TDKlobOzs0NPS/sRWZVCpVtmz/QWr+SFV4ybbzcbVgMs3JoM+rRGJUpxVjXqLqMuebt7kKTh67iHZ53IrmD7ipXfFkZJfR/sLW2oov9LyDnchiV/iXIxg9vA49C1e71lY2N9YWV4o8XAF/69qLlMorRetxpejnbl/+pYjyl+zyl4Tyr6Do4kMTh1hHKCm6IW6GGtJLNeu7O1YLRNMxMzBIp6FtQt2LQSTFUH3dYIsWQifYBLkIYJbaQQtedhSRBVN6Epp7wXHt4krRe17xLxyuLawUBWqlGKyTR3h6zJ9DI2ptdJyPtKfX9TrW9rBUW7B4F4B5wctWoprBqKJgNs2Zx8r0UMPs0XJgkeTzPGQngFn2I31uEuR+shzldPLTL5Rd1+6uYcrHodSHy4Ix9aPPOdFBDC4zCeP1dmkiXi8yWMhjfkKo0pzw82hYoLcou7NP6Z1TXIAXI6XdpP2nmnZPBLj2pZPG0p+JzNC6VyDfUmS+Vr0FuT4emSuyF4H9Yy3YG9veqvCIlkfLNUIbmsu1iZZAhvnWGSIaC5/JYQgehOAhCM5B8DAEj0DwKASPQfA4BE9AcB6CCzwYneDB+XC11iu120hDVbsWZ/xOlvUaxsY2qrdR1wvhxF3I55RaD+J+ElBM8SAfzrQuSVjXr2FkmAzyXeJMD6xLBjlABt4lqqkgePdxZl2WgxR8/RKq14lWdSjH6o7blD7N/7rdqz8AL5eoPK8E30dY56YWn7Vt6lXtgDCqwVpjxo7ZMTXoiDmb8is9U6L1Y7uLKFRg0fCwR63Y2Q2+ZjGwK6K5q0d1ygwB9KYKETeIBE2dsyk/ecqOgAJnNy0rzx8tZTjrke5YcBhc8hyvn1SOfYnYTF6sSLp5HtymBziUY9qJ8wmX+8wNZOqCLOZ2MNGIEYhQOX9DhF+DH+F01JQXoc96j3aDPdKr347x+nPWo63kGd5nftVnd2v0cAPrpKrtUarsIzYDMddZFWnkXcxmgeI5nESL9HPP7hq07pOP3ST40NJHUVVgVJ+FFD5QK6RqMot3AmK2KFcNeHD0CFgfANovE6LmIMr2sNhD0OJxG2iPigfFKEeMua5/nggPOWuxYNcAIzRLz9Kz9Cw9S8/So9LhM/zfu3fvfsA/I0D8xyGslH+LxL9E4p8i8Q+R+LtY2t9E4q8i8ReR+LNI/Ekk/igW/QeR+L1I/E4kfisSvxGJX4vEr0TilyLxC5H4uUj8TCR+KhI/EYkfi034kUj8UGR7TyR+IBLfF4nvicR3ReI7IvFtkfiWWOk3xZRviClfF1O+JqZ8VSS+IhJfFvN8SUz5okh8QSQ+L+b5nEh8ViDGTw9BFP/M8U/usbDybrrrJWCemRufdtlz8GnQ9U1/VWZlyM3NDNk/c7POQ+4MD2Z3j3UDqws37a/gg8LGytvobcr4H6LBnysmUeTJ8g4+IMACWSf4zymnmLvOzyjs4bre6o+XDWvh62zSRnLnHUAlYJEAv77wEtJrFlvHfhtvl7YDAbh8RmF32bFjYXjI2zfmuq/Uqu9cW3FE7NCnygfuViAuiex5CGGX3aszJO5+u+mhBDdAb66XuDHe9jCCl6JLR0/c4F73wIH3pHO3Uh80//E20gjpfR9qfKLp2I5wbvWhvvNNx3YT/1gf6gSHV/cutrjV7A0PH7jCWrvOhi0DR+A/30CNIy2hWKW/CdMUmPCWrFD91BZF8jUEx3jjzlw2UaJqHTHM5oCzxAXEzdoBkTGbgIhd8i7OvYyP9bGbSDGxPjQ0MjI0Onp6IqquTbesp6ISG8p//9XLL8DcODUFs/pkGYK3YL4G4wvtCTEgCPaB4WY0gwSBDAy3oxkwBBVgeD2aoQpBDRjeiGYgELwNDG9GM9yBQOHBXNmZ+ufech+Q+7DvPkjug+w+YPeh4j5U3Yea+0Dch7fdhzvug+I8nP4/AAAA//8DAFBLAQItABQAAAAIALOqdUMq41e5pRAAAK/EAAAYAGAAAAAAAAAAAAAAAAAAAABBc3BlblRlY2guQVNXWEwuV29ya2Jvb2tOVTgATlVDWBgAAABBAHMAcABlAG4AVABlAGMAaAAuAEEAUwBXAFgATAAuAFcAbwByAGsAYgBvAG8AawAKACAAAAAAAAEAGACRKihJ9+bOAZEqKEn35s4BpikfSffmzgFQSwUGAAAAAAEAAQCmAAAAHREAAB4AQVNXWEwgU3RvcmFnZSBWZXJzaW9uIDI1LjAuMC4x

## Cost Estimation
Capital Equipment Costs
Boiler | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 13.4215
C1 | 339189000
S1 [MW] | 550 | 2102643
I2 | 630.2
I1 | 525.4
Capital Cost of Boiler | 33807637.0567
HP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 2.9939
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of HP Turbine | 951981.2986
IP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 0
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of IP Turbine | 0
LP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 12.6571
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of LP Turbine | 2501016.9735
District Heat Exchanger | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 126061.1955
U [W/m2 K] | 1200
A [m2] | 105.051
I2 | 630.2
I1 | 525.4
Capital Cost of District Heat Exchanger | 0
Vacuum Condensers | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 12261753.5403
U [W/m2 K] | 1200
A [m2] | 10218.128
Number of condensers | 10
A per condenser [m2] | 1021.8128
I2 | 630.2
I1 | 525.4
Capital Cost per condenser | 254206.8571
Capital Cost of Vacuum Condensers | 2542068.5705
CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 14777.8191
U [W/m2 K] | 50
A [m2] | 295.5564
I2 | 630.2
I1 | 525.4
Capital Cost of CO2 Cooler | 79663.3988
LP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 22420.4944
U [W/m2 K] | 100
A [m2] | 224.2049
I2 | 630.2
I1 | 525.4
Capital Cost of LP CO2 Cooler | 65306.3365
IP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 88258.8128
U [W/m2 K] | 700
A [m2] | 126.084
I2 | 630.2
I1 | 525.4
Capital Cost of IP CO2 Cooler | 47090.8812
LP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 960.7527
I2 | 913.9
I1 | 525.4
Capital Cost of LP CO2 Compressor | 2652375.1802
IP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 960.7527
I2 | 913.9
I1 | 525.4
Capital Cost of IP CO2 Compressor | 2652375.1802
HP CO2 Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 7.801
I2 | 913.9
I1 | 525.4
Capital Cost of HP CO2 Pump | 14278.319
Main Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 8.8955
I2 | 913.9
I1 | 525.4
Capital Cost of Main Water Pump | 14563.8193
LP Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 4.7682
I2 | 913.9
I1 | 525.4
Capital Cost of LP Water Pump | 0
District Heat Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 66.1806
I2 | 913.9
I1 | 525.4
Capital Cost of District Heat Water Pump | 0
Seawater Pump | (6900+206*V^0.9)*(I2/I1)
qtot [l/s ] | 3109.2467
I2 | 913.9
I1 | 525.4
Capital Cost of Seawater Pump | 510502.4958
Flue Gas Desulfurization | C*P*(I2/I1)
P [kW] | 13421.5471
C [$/kW] | 250
I2 | 692.9
I1 | 394.3
Capital Cost of Flue Gas Desulfurization | 5896392.351
CO2 Removal | C = x*C1*(I2/I1)
Capital Cost Without Carbon Capture [$] | 220792351.4481
Percent Increase with Carbon Capture | 87%
I2 | 499.6
I1 | 692.9
Capital Cost of CO2 Removal | 138501713.2943
Central heat pump
Cost per kW [NOK/kW] | 14000
Heat provided [kW] | 12000
Capital Cost of Central heat pump | 168000000
Installation factors
Equipment erection factor, fer | 0.5
Piping factor, fp | 0.6
Instrumentation and Control factor, fi | 0.3
Electrical factor, fel | 0.2
Civil factor, fc | 0.3
Structures and Building factor, fs | 0.2
Lagging and Paint factor, fl | 0.1
Material, fm: Carbon steel | 1
Material, fm: Stainless steal | 1.3
Boiler | 1.2
HP Turbine | 3.2
IP Turbine | 3.2
LP Turbine | 3.2
District Heat Exchanger | 3.2
Vacuum Condenser | 3.2
CO2 Cooler | 3.68
LP CO2 Cooler | 3.68
IP CO2 Cooler | 3.68
LP CO2 Compressor | 3.68
IP CO2 Compressor | 3.68
HP CO2 Pump | 3.68
Main Water Pump | 3.2
LP Water Pump | 3.2
District Heat Water Pump | 3.2
Seawater Pump | 3.68
Flue Gas Desulfurization | 1
CO2 Removal | 1
Heat Pump | 1
Installed Capital Costs
Boiler | 40569164.4681
HP Turbine | 3046340.1556
IP Turbine | 0
LP Turbine | 8003254.3151
District Heat Exchanger | 0
Vacuum Condenser | 8134619.4257
CO2 Cooler | 293161.3076
LP CO2 Cooler | 240327.3184
IP CO2 Cooler | 173294.4428
LP CO2 Compressor | 9760740.6633
IP CO2 Compressor | 9760740.6633
HP CO2 Pump | 52544.214
Main Water Pump | 46604.2219
LP Water Pump | 0
District Heat Water Pump | 0
Seawater Pump | 1878649.1845
Flue Gas Desulfurization | 5896392.351
Heat Pump | 28965517.2414
Offsites | 0.4
Design and Engineering | 0.25
Contingency | 0.1
Total fixed capital cost (without CO2 removal) | 220792351.4481
1280595638.3991
Total fixed capital cost (with CO2 removal) | 482560589.5744
2798851419.5313
Variable Costs
Labor
Number of units | 18
Number of operators | 4
Shifts per day | 6
Employed operators | 24
Salary per year | 433000
Labor costs per year | 10392000
Diesel consumption
Diesel consumption in 2012 [l] | 390417
Diesel consumption in 2011 [l] | 530287
Diesel consumption in 2010 [l] | 72907
Diesel consumption in 2009 [l] | 236728
Mean diesel consumption [l] | 307584.75
Price of diesel [kr/l] | 12
Diesel costs per year | 3691017
Coal consumption
Coal price [$/short tonne] | 65.5
Coal price [$/ton] | 72.2002
Coal consumption [ton/year] | 60000
Coal costs per year | 4332010.582
Coal costs per year | 25125661.3757
Operations and Maintenance costs
O&M [$/kW] | 71
P [kW] | 13421.5471
Total O&M costs [$/year] | 952929.8472
Total O&M costs [NOK/year] | 5526993.1138
Cost of Chemicals
Chemicals [$/kWh] | 0.00359
P [kW] | 13421.5471
W [kWh] | 117572752.9794
Total O&M costs [$/year] | 422086.1832
Total O&M costs [NOK/year] | 2448099.8625
Total
Total variable costs [$/year] | 47183771.352
Revenue
Price of electricity [kr/kWh] | 1
Price of district heating [kr/kWh] | 0.5
Total amount of electricity [kWh] | 117412204.189
Total amount of district heating [kWh] | 105120000
Heat pump COP | 3
Electricity needed for heat pump | 35040000
Available electricity | 82372204.189
Revenue from electricity | 82372204.189
Revenue from district heating | 52560000
Total revenue | 134932204.189
Working capital
Working capital
Value of raw materials in inventory (60 days) | 1114538.7032
Spare parts (2 % of total plant cost) | 55977028.3906
Total Working Capital | 57091567.0938

## Investment Analysis
Regneark for beregning av nåverdi og/eller intern rente.
Verdier som må innsettes nedenfor er i fet kursiv. Velg avskrivningsprinsipp. | [7 empty] | Internrente kan bestemmes ved å endre D37 til D40 = 0 (Raskest åbestemme ved "Goal seek")
|  | År ---> | Grunnl.data | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Investement |  |  | 2798851419.5313
working capital |  |  | 57091567.0938
1)Constant depreciation rate 10% |  |  | 10
2)Amount depreciation 20% |  |  | 20
Depreciation Factor ,amount depreciation | [5 empty] | 0.2 | 0.16 | 0.128 | 0.1024 | 0.08192 | 0.065536 | 0.052429 | 0.041943 | 0.033554 | 0.026844 | 0.021475 | 0.01718 | 0.013744 | 0.010995 | 0.0087961 | 0.0070369 | 0.0056295 | 0.0045036 | 0.0036029 | 0.0028823 | 0.0023058 | 0.0018447 | 0.0014757 | 0.0011806 | 0.00094447 | 0.00075558 | 0.00060446 | 0.00048357 | 0.00038686 | 0.00030949 | 0.00024759 | 0.00019807 | 0.00015846 | 0.00012677 | 0.00010141 | 8.113e-05 | 6.4904e-05 | 5.1923e-05 | 4.1538e-05 | 3.3231e-05 | 2.6585e-05 | 2.1268e-05 | 1.7014e-05 | 1.3611e-05 | 1.0889e-05 | 8.7112e-06 | 6.969e-06 | 5.5752e-06 | 4.4601e-06 | 3.5681e-06
Industrial investment |  |  |  | 0: -2798851419.5313
Service capital |  |  |  | 0: -57091567.0938
Recover of service capital
Annual sale income |  |  | 134932204.189 |  |  | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189 | 134932204.189
Annual service expenses |  |  | 47183771.352 |  |  | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352
Brutto service result | [5 empty] | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837
Depreciation | [5 empty] | 839655425.8594 | 727701369.0781 | 638138123.6531 | 566487527.3131 | 509167050.2411 | 463310668.5835 | 426625563.2575 | 397277478.9966 | 373799011.5879 | 355016237.6609 | 339990018.5194 | 327969043.2061 | 318352262.9555 | 310658838.7551 | 304504099.3947 | 299580307.9064 | 295641274.7157 | 292490048.1632 | 289969066.9212 | 287952281.9276 | 286338853.9327 | 285048111.5368 | 284015517.62 | 283189442.4867 | 282528582.38 | 281999894.2946 | 281576943.8263 | 281238583.4517 | 280967895.152 | 280751344.5122 | 280578104.0004 | 280439511.5909 | 280328637.6634 | 280239938.5213 | 280168979.2077 | 280112211.7568 | 280066797.796 | 280030466.6275 | 280001401.6926 | 279978149.7447 | 279959548.1864 | 279944666.9397 | 279932761.9424 | 279923237.9446 | 279915618.7463 | 279909523.3876 | 279904647.1007 | 279900746.0712 | 279897625.2476 | 279895128.5887
Result before taxes | [5 empty] | -751906993.0224 | -639952936.2412 | -550389690.8162 | -478739094.4762 | -421418617.4042 | -375562235.7466 | -338877130.4205 | -309529046.1596 | -286050578.7509 | -267267804.824 | -252241585.6824 | -240220610.3692 | -230603830.1186 | -222910405.9181 | -216755666.5577 | -211831875.0694 | -207892841.8788 | -204741615.3262 | -202220634.0842 | -200203849.0906 | -198590421.0957 | -197299678.6998 | -196267084.7831 | -195441009.6497 | -194780149.543 | -194251461.4576 | -193828510.9893 | -193490150.6147 | -193219462.315 | -193002911.6752 | -192829671.1634 | -192691078.754 | -192580204.8264 | -192491505.6844 | -192420546.3707 | -192363778.9198 | -192318364.9591 | -192282033.7905 | -192252968.8556 | -192229716.9077 | -192211115.3494 | -192196234.1028 | -192184329.1055 | -192174805.1076 | -192167185.9093 | -192161090.5507 | -192156214.2638 | -192152313.2343 | -192149192.4106 | -192146695.7517
Tax,Percentaje 28% |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net profit | [5 empty] | -751906993.0224 | -639952936.2412 | -550389690.8162 | -478739094.4762 | -421418617.4042 | -375562235.7466 | -338877130.4205 | -309529046.1596 | -286050578.7509 | -267267804.824 | -252241585.6824 | -240220610.3692 | -230603830.1186 | -222910405.9181 | -216755666.5577 | -211831875.0694 | -207892841.8788 | -204741615.3262 | -202220634.0842 | -200203849.0906 | -198590421.0957 | -197299678.6998 | -196267084.7831 | -195441009.6497 | -194780149.543 | -194251461.4576 | -193828510.9893 | -193490150.6147 | -193219462.315 | -193002911.6752 | -192829671.1634 | -192691078.754 | -192580204.8264 | -192491505.6844 | -192420546.3707 | -192363778.9198 | -192318364.9591 | -192282033.7905 | -192252968.8556 | -192229716.9077 | -192211115.3494 | -192196234.1028 | -192184329.1055 | -192174805.1076 | -192167185.9093 | -192161090.5507 | -192156214.2638 | -192152313.2343 | -192149192.4106 | -192146695.7517
Despreciation | [5 empty] | 839655425.8594 | 727701369.0781 | 638138123.6531 | 566487527.3131 | 509167050.2411 | 463310668.5835 | 426625563.2575 | 397277478.9966 | 373799011.5879 | 355016237.6609 | 339990018.5194 | 327969043.2061 | 318352262.9555 | 310658838.7551 | 304504099.3947 | 299580307.9064 | 295641274.7157 | 292490048.1632 | 289969066.9212 | 287952281.9276 | 286338853.9327 | 285048111.5368 | 284015517.62 | 283189442.4867 | 282528582.38 | 281999894.2946 | 281576943.8263 | 281238583.4517 | 280967895.152 | 280751344.5122 | 280578104.0004 | 280439511.5909 | 280328637.6634 | 280239938.5213 | 280168979.2077 | 280112211.7568 | 280066797.796 | 280030466.6275 | 280001401.6926 | 279978149.7447 | 279959548.1864 | 279944666.9397 | 279932761.9424 | 279923237.9446 | 279915618.7463 | 279909523.3876 | 279904647.1007 | 279900746.0712 | 279897625.2476 | 279895128.5887
Net cash flow |  |  |  |  | -2798851419.5313 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837 | 87748432.837
Accumulated cash flow | Net cash flow |  |  | 0 | -2855942986.6251 | -2768194553.7882 | -2680446120.9512 | -2592697688.1143 | -2504949255.2773 | -2417200822.4403 | -2329452389.6034 | -2241703956.7664 | -2153955523.9295 | -2066207091.0925 | -1978458658.2555 | -1890710225.4186 | -1802961792.5816 | -1715213359.7447 | -1627464926.9077 | -1539716494.0707 | -1451968061.2338 | -1364219628.3968 | -1276471195.5599 | -1188722762.7229 | -1100974329.8859 | -1013225897.049 | -925477464.212 | -837729031.3751 | -749980598.5381 | -662232165.7011 | -574483732.8642 | -486735300.0272 | -398986867.1903 | -311238434.3533 | -223490001.5163 | -135741568.6794 | -47993135.8424 | 39755296.9945 | 127503729.8315 | 215252162.6685 | 303000595.5054 | 390749028.3424 | 478497461.1793 | 566245894.0163 | 653994326.8533 | 741742759.6902 | 829491192.5272 | 917239625.3641 | 1004988058.2011 | 1092736491.0381 | 1180484923.875 | 1268233356.712 | 1355981789.5489 | 1443730222.3859 | 1588570222.3167
Test1 :
Discount factor at 10 % |  |  |  |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864 | 0.13513 | 0.12285 | 0.11168 | 0.10153 | 0.092296 | 0.083905 | 0.076278 | 0.069343 | 0.063039 | 0.057309 | 0.052099 | 0.047362 | 0.043057 | 0.039143 | 0.035584 | 0.032349 | 0.029408 | 0.026735 | 0.024304 | 0.022095 | 0.020086 | 0.01826 | 0.0166 | 0.015091 | 0.013719 | 0.012472 | 0.011338 | 0.010307 | 0.0093704 | 0.0085186
Discount NKS |  |  |  |  | -2798851419.5313 | 79771302.5791 | 72519365.981 | 65926696.3463 | 59933360.3148 | 54484873.0135 | 49531702.7395 | 45028820.6723 | 40935291.5203 | 37213901.3821 | 33830819.4382 | 30755290.3984 | 27959354.9076 | 25417595.3706 | 23106904.8823 | 21006277.1658 | 19096615.6052 | 17360559.6411 | 15782326.9465 | 14347569.9514 | 13043245.4103 | 11857495.8276 | 10779541.6614 | 9799583.3286 | 8908712.1169 | 8098829.1972 | 7362571.9974 | 6693247.2704 | 6084770.2458 | 5531609.3144 | 5028735.7403 | 4571577.9458 | 4155979.9507 | 3778163.5915 | 3434694.1741 | 3122449.2492 | 2838590.2265 | 2580536.5696 | 2345942.336 | 2132674.8509 | 1938795.319 | 1762541.1991 | 1602310.181 | 1456645.6191 | 1324223.2901 | 1203839.3546 | 1094399.4133 | 994908.5575 | 904462.325 | 822238.4773 | 747489.5248 | -1928841986.4099
Current value |  |  |  | 0: -1928841986.4099
Test 2:
Discount factor at 20 % |  |  |  |  | 1 | 0.83333 | 0.69444 | 0.5787 | 0.48225 | 0.40188 | 0.3349 | 0.27908 | 0.23257 | 0.19381 | 0.16151 | 0.13459 | 0.11216 | 0.093464 | 0.077887 | 0.064905 | 0.054088 | 0.045073 | 0.037561 | 0.031301 | 0.026084 | 0.021737 | 0.018114 | 0.015095 | 0.012579 | 0.010483 | 0.0087355 | 0.0072796 | 0.0060663 | 0.0050553 | 0.0042127 | 0.0035106 | 0.0029255 | 0.0024379 | 0.0020316 | 0.001693 | 0.0014108 | 0.0011757 | 0.00097974 | 0.00081645 | 0.00068038 | 0.00056698 | 0.00047248 | 0.00039374 | 0.00032811 | 0.00027343 | 0.00022786 | 0.00018988 | 0.00015823 | 0.00013186 | 0.00010988
Discount NKS |  |  |  |  | -2798851419.5313 | 73123694.0308 | 60936411.6923 | 50780343.0769 | 42316952.5641 | 35264127.1368 | 29386772.614 | 24488977.1783 | 20407480.9819 | 17006234.1516 | 14171861.793 | 11809884.8275 | 9841570.6896 | 8201308.908 | 6834424.09 | 5695353.4083 | 4746127.8403 | 3955106.5336 | 3295922.1113 | 2746601.7594 | 2288834.7995 | 1907362.3329 | 1589468.6108 | 1324557.1756 | 1103797.6464 | 919831.372 | 766526.1433 | 638771.7861 | 532309.8217 | 443591.5181 | 369659.5984 | 308049.6654 | 256708.0545 | 213923.3787 | 178269.4823 | 148557.9019 | 123798.2516 | 103165.2096 | 85971.008 | 71642.5067 | 59702.0889 | 49751.7408 | 41459.784 | 34549.82 | 28791.5166 | 23992.9305 | 19994.1088 | 16661.7573 | 13884.7978 | 11570.6648 | 9642.2207 | -2360157466.4499
Current value |  |  |  | 0: -2360157466.4499
Discount factor at rentage |  |  | 1.9292 |  | 1 | 0.98107 | 0.9625 | 0.94429 | 0.92641 | 0.90888 | 0.89168 | 0.8748 | 0.85824 | 0.842 | 0.82606 | 0.81043 | 0.79509 | 0.78004 | 0.76528 | 0.75079 | 0.73658 | 0.72264 | 0.70896 | 0.69554 | 0.68238 | 0.66946 | 0.65679 | 0.64436 | 0.63217 | 0.6202 | 0.60846 | 0.59695 | 0.58565 | 0.57456 | 0.56369 | 0.55302 | 0.54255 | 0.53228 | 0.52221 | 0.51232 | 0.50263 | 0.49311 | 0.48378 | 0.47462 | 0.46564 | 0.45683 | 0.44818 | 0.4397 | 0.43138 | 0.42321 | 0.4152 | 0.40734 | 0.39963 | 0.39207 | 0.38465
Discount NKS |  |  |  |  | -2798851419.5313 | 86087609.1467 | 84458220.0388 | 82859670.5475 | 81291376.9682 | 79752766.6442 | 78243277.7574 | 76762359.1233 | 75309469.9898 | 73884079.8396 | 72485668.1967 | 71113724.436 | 69767747.5971 | 68447246.2015 | 67151738.0728 | 65880750.1609 | 64633818.3689 | 63410487.3843 | 62210310.5122 | 61032849.5122 | 59877674.4387 | 58744363.4837 | 57632502.8226 | 56541686.4636 | 55471516.099 | 54421600.9599 | 53391557.6735 | 52381010.1233 | 51389589.3113 | 50416933.2239 | 49462686.6992 | 48526501.2974 | 47608035.1738 | 46706952.9538 | 45822925.6104 | 44955630.3443 | 44104750.4657 | 43269975.2787 | 42450999.9683 | 41647525.4886 | 40859258.4537 | 40085911.0307 | 39327200.8346 | 38582850.8251 | 37852589.2055 | 37136149.3232 | 36433269.5729 | 35743693.3006 | 35067168.7099 | 34403448.7703 | 33752291.1268 | -2.4304e-05
Internal rent |  |  | 1.9292
Current value |  |  | -2.4304e-05 | 0: Goal seek:"Set cell d40 to 0 by changing cell d37"