## ASWXL.Storage (hidden)
ASWXL Storage Version 25.0.0.1 | C:\Program Files (x86)\AspenTech\Aspen Simulation Workbook V7.3
UEsDBBQAAAAIAC6JdUMq41e5pRAAAK/EAAAYAEIAQXNwZW5UZWNoLkFTV1hMLldvcmtib29rTlU2AE5VQ1gYAEEAcwBwAGUAbgBUAGUAYwBoAC4AQQBTAFcAWABMAC4AVwBvAHIAawBiAG8AbwBrAAoABAAAAAAA7F3pc9s2Frdj+YztOG3TM9lqNN2Z7k5s2em2zXpsdxw5aT21m9R2k2y3WxUmIQkNSagg6aP/1N73vd37vu9rZr/2ez9m8XiCFHVaFNmE9gjmAx6AHx4eHoAH0BoaHhoaust/4C/8TJ/iwafW9TrW9rBUW1jfvXV7a2Fdlol2MX8TM51QbfXSswuL/HfpYr5kKobJ8KqGTYMh5WL+hrmvEOllfLxH72BtdRFJ0rPPSIuXP1m5tHhZroxCPY+Gi79F2Z19Su/M8sSR8oE0XdaJairI4JXpZ8tIMsgB3vWipst1hiuYYU3C+nSZaMQgSCHvYnm2rCLdwGwDGWgXGw8HyQUH/zkhukQ1g1FFwWymzJBWxdtIQ1XMpstVRs36usSr0B8sI9OgKq9c2kPV1+oyMvCF8gZWsIH30L6Cb9WwZpFEq+5AKR8tmxbX1SMJK9dMTbKaAmzXedPd9kLToPxrGIEUt1E9lzuVG+K/uRwXRa4QFtRNxAjUVwLEVpnQXc+G2fxk3Y7xZRfM+VQ45w1PsEHG4Y+EOUF49iM8Ac/E0615fFED9/kw844gfWB4Iszwot8hFqTh4XyDnobECXzwmRyBAGQ6NTkKeSfHIITIcQgmeDD6AR8GrSoF9vEDpJi4XB6agGKhVI5jcgqyA9Fhh42VEWPoeKwsUVMzco1N3XTzffozlmStNpx2huho7kR9Hq78QkPlfk6x+mm3+tFOFQdEO7VFkXyNj2DKxp3hN1Giah0xzOZeQnqtRGV8g9EDImM2ARG7fCDnuAHRx26CrHUu5hFe6emJ87vHfNSqgZZuumU9FZXYUD405P1XL78A7ZiaAoFOzkAAhmcUVKKNmkMfP+Jakx2sUhjwTrMmb6vKrlTDKjrNnzZIpfIiQ+rI8PCsA83hs4R5BjpiDmzve6dWXjhSlfyBY1sLSwuLhTwXJOUmt7paMI3K/NJzhRfWZqZWjvRl3aohT+TVgoeqkDcQq2LjFaRivY4kvFqoGUZ9uVjk1dZNRhYoqxaBU8fG0sKRLhfyvEpNX1Z1Q9M75e641COf9fDwcOHwGYvz0uLiUvH29pYtIx8BN5OIN5NpTtv0eZVIjOq0YsxLVF3mfPM2l5+nzmi9fR7gKuSRYTCybxr4GmXqBq4gPmWtFt4x+YxRIZiD5nZbxZrRJJnLPZ8HyTtseY1LOSB8G9zypu4oxmrBYCb24l/TcclkfGgYW1RCCnaSrXLtkjniuoKP9o7r2Il14muUSDivEu26JJmMS5VrhoqOXMrU9vkQll2QfsYgVD5lueYEQIFUlgVtuyTmbg7IT9XxOyYM9FBSVNWbG54YdjCSr2vKcUg663xi3dQkZuVy0wxe8WqBl0Y0w+PsXseLHSCE8oQKda4rWjXmOjewLjFSByPVz6qDetIJEMvAChBkajpKMjAIr/HFm56sFF6FsW4cJwvCWmckC8FagA2wL1aKzYyJlRJthKwkB3cHVm+vmdVbvK+tXmoskKVzyULgi8SXeC9htkMPBSR8f6ZgxMUju2uCClL0wRpHDk3oqfThAzWGZRMyku3CK5Tx/ltnsBrq2zjqTRy3iGzUUtZNlhHcNY6VhEfaHjFSgQOGO68zBUg2NQ0zW3sT1NttzOtY1+QSjwoA8ZT3w74C2CK6EeOEb9UBs/4Ap/BSjSjygOvkM9D1SoXnGZCyxq4f665v4L5eDfpSSNQYlqhiqlqCdtCZFxKeEqoaZVhO4xKij9amewTh2XrQ9V/huQe8YojX/G1TGSuZY7AZwn47BrvXuNRs0sNuwgQgpMBNuEUPA4vjJKRQrycNIQV+SrA+ySK4gQJ7/AQQ+Ee0KfDfpWFglhSk1r1qS8gym05a3klM1YrKGstNUFtpqURdoprsnZeEYUMigUcs51NxqAKAnMmrFdYUzG/uIqhldwfWRx+uxSbfa7sakS0q4zttjrcTrx4ZmGlIib8nkziVF1T0XvBuudu77AQ0EmFqNlfZCWgbaKk+Ab2mkLpzvIYMU08Zuux8Njufzc5ns/PZD8EKJTuhzU5oozUkO6PNzmizM9rsjPZ+PKPdQ9VLlhHMzmejb3cJOD3XLk/Ju+fa+UTHw7asNMFodWpKUHJ52f62KEEmfwzOhRgNz5Zh8gCvakh8a8bDZ8e3niVidek3HTaRJyL2sEn8hSBrzEQCdMdM4oc18A64fR8hSoYpuKrAZdgEoC3DFEDMDhLjQercUok+B98iKjGSHd7OFZboE+8U4Gt/mcACaR/ORxv3VF0iSBNaeCfe/h8ByfZxkwtE3qQcWHUP9iAoYavMW77NRZBw96Bqgw8rZhgD2sVlrqzMlZW5sjJX1n3tysoupEQizC6kZBdSsisf2ZWP7MpHduXjnr3yEVwEZHc+sjsfTRbeA1kJJr3ks61Mwi6fa1RLeKnwiqnuY5aGRcsthup7+MgYoL2NnoK4zSeUlahCE37dE7RjwDDiNS/2mLuPjMwW0dKwwLuFSbWW8PC2FHlTk/HRvaLNtg/zPtLmbLbKZqvW2nFPzVY3GK0QBQff5cu8pJmXNP1eUuuOUSqRpdp/y/Ht7DUcTaYB2Sv0eoXLS0/QK7ZHVGxNNwdISfiOAkeSglt0mbc/8/Zn3v7M25/+1Wt29UmQSKI3W7LrV9n1qzaosutX99z1q10Ja4gRmrkQMhdCYLe5ef0KgkVQKrfCmX+jB2Rgu0r8A0WlEmCqHTDp/o9OKXDCZD6HzOeQ+Rwyn0O617mZv0GURqJ7OXun3+Sly8zxcX86PgbrYojZ5uA6YsigTN/UKjRGg2N9+QKvLdmu28ASUZEyUBz960Cb3/pmbSeuSQnQcFMjvEqn3da/8nkZ+/+v4gbjcmDHPCr4nd5uv8IX0VOWP6ojo7ZaWCgWra9bXw58H3cxkKdCsCK7GWxuGCNFEamNqRlIoXCQfolqvGcQjK04wEEVXcFz+5zL7FJ/5LgXjxy973fnqJ7tHpD1akN7UJ4VbMvpvVjQm7CX+iBsYf6MU9qfOCnU0BdbxYm1H2L1/sFNDKYAyoYxClYrBkBdD39Rds+fVHbhryOIGe9z/dLLAVisy71ASoXNCoyuxb6IPEa75b3PxoEJu8HejYH7f2diAwrC6C/YQYjX0rn+wo5pFDa+4diV7Q2/HZn0cLTcZX0RvON467e8hfd5+gJTfD+o72CF1zX6AlZ8/aPvYKPunpejJ0R/l/FK/6fNyDvwsbbWs2jlJrNRq/aefNKKvjbV9xYHbgQk0bHBKwmxtS/h3mx0SPejpXfwMcMV15Uvbngi6uOcmIU3WfGhF53OgVbYoJu1IqAOzVvRSm3ja1PDLNtBg4SpJKTqTlMa5q54xk3woLSLBgjTSxOb5DSkYV6L19CFJrwOWhI1h7RuUgezX7yN7EXjAoagdft6MQa9NkW49drb8IleApxsFPW4rOh5MAmL+8ZVvtOU0HYyxl1D9F6g4xbwijpphrBtG+QOqDvlCu8IT6ZWXe8v+2Gdo/biJzPNPe3uu7fLTVSqsRl9UKmBGl/BlXMCg9uNQ8j/ronu5N8csXfe1X+w/pd39Kbw/VX2ASh6YJrpYErudHUxeM2OcBmfQMN7cUD3Mnc1yr9tE7rqgpP60Lubsvq6EBrkCsg5qmk4uYkQ/1Jsp0BRR1xdz7f9nGljn2Pd3m0EHTiPjwVwL6oenJYiR2r3k9MArIxQSzPcvQl8sOYlcLHixMvhwZqWwP2VCLPyfCz3YNrak9BVJPs6k1TDKlobOzs0NPS/sRWZVCpVtmz/QWr+SFV4ybbzcbVgMs3JoM+rRGJUpxVjXqLqMuebt7kKTh67iHZ53IrmD7ipXfFkZJfR/sLW2oov9LyDnchiV/iXIxg9vA49C1e71lY2N9YWV4o8XAF/69qLlMorRetxpejnbl/+pYjyl+zyl4Tyr6Do4kMTh1hHKCm6IW6GGtJLNeu7O1YLRNMxMzBIp6FtQt2LQSTFUH3dYIsWQifYBLkIYJbaQQtedhSRBVN6Epp7wXHt4krRe17xLxyuLawUBWqlGKyTR3h6zJ9DI2ptdJyPtKfX9TrW9rBUW7B4F4B5wctWoprBqKJgNs2Zx8r0UMPs0XJgkeTzPGQngFn2I31uEuR+shzldPLTL5Rd1+6uYcrHodSHy4Ix9aPPOdFBDC4zCeP1dmkiXi8yWMhjfkKo0pzw82hYoLcou7NP6Z1TXIAXI6XdpP2nmnZPBLj2pZPG0p+JzNC6VyDfUmS+Vr0FuT4emSuyF4H9Yy3YG9veqvCIlkfLNUIbmsu1iZZAhvnWGSIaC5/JYQgehOAhCM5B8DAEj0DwKASPQfA4BE9AcB6CCzwYneDB+XC11iu120hDVbsWZ/xOlvUaxsY2qrdR1wvhxF3I55RaD+J+ElBM8SAfzrQuSVjXr2FkmAzyXeJMD6xLBjlABt4lqqkgePdxZl2WgxR8/RKq14lWdSjH6o7blD7N/7rdqz8AL5eoPK8E30dY56YWn7Vt6lXtgDCqwVpjxo7ZMTXoiDmb8is9U6L1Y7uLKFRg0fCwR63Y2Q2+ZjGwK6K5q0d1ygwB9KYKETeIBE2dsyk/ecqOgAJnNy0rzx8tZTjrke5YcBhc8hyvn1SOfYnYTF6sSLp5HtymBziUY9qJ8wmX+8wNZOqCLOZ2MNGIEYhQOX9DhF+DH+F01JQXoc96j3aDPdKr347x+nPWo63kGd5nftVnd2v0cAPrpKrtUarsIzYDMddZFWnkXcxmgeI5nESL9HPP7hq07pOP3ST40NJHUVVgVJ+FFD5QK6RqMot3AmK2KFcNeHD0CFgfANovE6LmIMr2sNhD0OJxG2iPigfFKEeMua5/nggPOWuxYNcAIzRLz9Kz9Cw9S8/So9LhM/zfu3fvfsA/I0D8xyGslH+LxL9E4p8i8Q+R+LtY2t9E4q8i8ReR+LNI/Ekk/igW/QeR+L1I/E4kfisSvxGJX4vEr0TilyLxC5H4uUj8TCR+KhI/EYkfi034kUj8UGR7TyR+IBLfF4nvicR3ReI7IvFtkfiWWOk3xZRviClfF1O+JqZ8VSS+IhJfFvN8SUz5okh8QSQ+L+b5nEh8ViDGTw9BFP/M8U/usbDybrrrJWCemRufdtlz8GnQ9U1/VWZlyM3NDNk/c7POQ+4MD2Z3j3UDqws37a/gg8LGytvobcr4H6LBnysmUeTJ8g4+IMACWSf4zymnmLvOzyjs4bre6o+XDWvh62zSRnLnHUAlYJEAv77wEtJrFlvHfhtvl7YDAbh8RmF32bFjYXjI2zfmuq/Uqu9cW3FE7NCnygfuViAuiex5CGGX3aszJO5+u+mhBDdAb66XuDHe9jCCl6JLR0/c4F73wIH3pHO3Uh80//E20gjpfR9qfKLp2I5wbvWhvvNNx3YT/1gf6gSHV/cutrjV7A0PH7jCWrvOhi0DR+A/30CNIy2hWKW/CdMUmPCWrFD91BZF8jUEx3jjzlw2UaJqHTHM5oCzxAXEzdoBkTGbgIhd8i7OvYyP9bGbSDGxPjQ0MjI0Onp6IqquTbesp6ISG8p//9XLL8DcODUFs/pkGYK3YL4G4wvtCTEgCPaB4WY0gwSBDAy3oxkwBBVgeD2aoQpBDRjeiGYgELwNDG9GM9yBQOHBXNmZ+ufech+Q+7DvPkjug+w+YPeh4j5U3Yea+0Dch7fdhzvug+I8nP4/AAAA//8DAFBLAQItABQAAAAIAC6JdUMq41e5pRAAAK/EAAAYAGAAAAAAAAAAAAAAAAAAAABBc3BlblRlY2guQVNXWEwuV29ya2Jvb2tOVTgATlVDWBgAAABBAHMAcABlAG4AVABlAGMAaAAuAEEAUwBXAFgATAAuAFcAbwByAGsAYgBvAG8AawAKACAAAAAAAAEAGABo2A8O1ObOAWjYDw7U5s4BoNsEDtTmzgFQSwUGAAAAAAEAAQCmAAAAHREAAB4AQVNXWEwgU3RvcmFnZSBWZXJzaW9uIDI1LjAuMC4x

## Cost Estimation
Capital Equipment Costs
Boiler | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 13.4215
C1 | 339189000
S1 [MW] | 550 | 2102643
I2 | 630.2
I1 | 525.4
Capital Cost of Boiler | 33807637.0567
HP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 2.9907
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of HP Turbine | 951313.2352
IP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 2.0968
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of IP Turbine | 749896.7004
LP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 6.7846
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of LP Turbine | 1646918.7125
District Heat Exchanger | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 126061.1955
U [W/m2 K] | 1200
A [m2] | 105.051
I2 | 630.2
I1 | 525.4
Capital Cost of District Heat Exchanger | 43490.9009 | Vacuum Condensers | (24000+46*A^1.2)*(I2/I1)
|  | UA [W/K] | 12261753.5403
Vacuum Condensers | (24000+46*A^1.2)*(I2/I1) | U [W/m2 K] | 1200
UA [W/K] | 4724201.5213 | A [m2] | 10218.128
U [W/m2 K] | 1200 | Number of condensers | 10
A [m2] | 3936.8346 | A per condenser [m2] | 1021.8128
Number of condensers | 4
A per condenser [m2] | 984.2087
I2 | 630.2 | I2 | 630.2
I1 | 525.4 | I1 | 525.4
Capital Cost per Condenser | 244288.9469
Capital Cost of Vacuum Condensers | 977155.7877 | Capital Cost per condenser | #DIV/0!
|  | Capital Cost of Vacuum Condensers | #DIV/0!
CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 15645.4517
U [W/m2 K] | 50
A [m2] | 312.909
I2 | 630.2
I1 | 525.4
Capital Cost of CO2 Cooler | 83268.5629
LP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 21301.1911
U [W/m2 K] | 100
A [m2] | 213.0119
I2 | 630.2
I1 | 525.4
Capital Cost of LP CO2 Cooler | 63129.6245
IP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 75330.383
U [W/m2 K] | 700
A [m2] | 107.6148
I2 | 630.2
I1 | 525.4
Capital Cost of IP CO2 Cooler | 43922.5687
LP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 960.7527
I2 | 913.9
I1 | 525.4
Capital Cost of LP CO2 Compressor | 2652375.1802
IP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 987.0147
I2 | 913.9
I1 | 525.4
Capital Cost of IP CO2 Compressor | 2681738.2211
HP CO2 Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 7.801
I2 | 913.9
I1 | 525.4
Capital Cost of HP CO2 Pump | 14278.319
Main Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 9.1162
I2 | 913.9
I1 | 525.4
Capital Cost of Main Water Pump | 14620.9454
LP Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 4.7682
I2 | 913.9
I1 | 525.4
Capital Cost of LP Water Pump | 13463.61
District Heat Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 66.1806
I2 | 913.9
I1 | 525.4
Capital Cost of District Heat Water Pump | 27595.2431
Seawater Pump | (6900+206*V^0.9)*(I2/I1)
qtot [l/s ] | 2500.6409
I2 | 913.9
I1 | 525.4
Capital Cost of Seawater Pump | 421755.0046
Flue Gas Desulfurization | C*P*(I2/I1)
P [kW] | 13421.5471
C [$/kW] | 250
I2 | 692.9
I1 | 394.3
Capital Cost of Flue Gas Desulfurization | 5896392.351
CO2 Removal | C = x*C1*(I2/I1)
Capital Cost Without Carbon Capture [$] | 156035250.4693
Percent Increase with Carbon Capture | 87%
I2 | 499.6
I1 | 692.9
Capital Cost of CO2 Removal | 97879973.5705
Installation factors
Equipment erection factor, fer | 0.5
Piping factor, fp | 0.6
Instrumentation and Control factor, fi | 0.3
Electrical factor, fel | 0.2
Civil factor, fc | 0.3
Structures and Building factor, fs | 0.2
Lagging and Paint factor, fl | 0.1
Material, fm: Carbon steel | 1
Material, fm: Stainless steal | 1.3
Boiler | 1.2
HP Turbine | 3.2
IP Turbine | 3.2
LP Turbine | 3.2
District Heat Exchanger | 3.2
Vacuum Condenser | 3.2
CO2 Cooler | 3.68
LP CO2 Cooler | 3.68
IP CO2 Cooler | 3.68
LP CO2 Compressor | 3.68
IP CO2 Compressor | 3.68
HP CO2 Pump | 3.68
Main Water Pump | 3.2
LP Water Pump | 3.2
District Heat Water Pump | 3.2
Seawater Pump | 3.68
Flue Gas Desulfurization | 1
CO2 Removal | 1
Installed Capital Costs
Boiler | 40569164.4681
HP Turbine | 3044202.3527
IP Turbine | 2399669.4414
LP Turbine | 5270139.8799
District Heat Exchanger | 139170.883
Vacuum Condenser | 3126898.5205
CO2 Cooler | 306428.3114
LP CO2 Cooler | 232317.0181
IP CO2 Cooler | 161635.0527
LP CO2 Compressor | 9760740.6633
IP CO2 Compressor | 9868796.6536
HP CO2 Pump | 52544.214
Main Water Pump | 46787.0252
LP Water Pump | 43083.5519
District Heat Water Pump | 88304.778
Seawater Pump | 1552058.417
Flue Gas Desulfurization | 5896392.351
Offsites | 0.4
Design and Engineering | 0.25
Contingency | 0.1
Total fixed capital cost (without CO2 removal) | 156035250.4693
905004452.7221
Total fixed capital cost (with CO2 removal) | 341028400.5176
1977964723.0019
Variable Costs
Labor
Number of units | 20
Number of operators | 4
Shifts per day | 6
Employed operators | 24
Salary per year | 433000
Labor costs per year | 10392000
Diesel consumption
Diesel consumption in 2012 [l] | 390417
Diesel consumption in 2011 [l] | 530287
Diesel consumption in 2010 [l] | 72907
Diesel consumption in 2009 [l] | 236728
Mean diesel consumption [l] | 307584.75
Price of diesel [kr/l] | 12
Diesel costs per year | 3691017
Coal consumption
Coal price [$/short tonne] | 65.5
Coal price [$/ton] | 72.2002
Coal consumption [ton/year] | 60000
Coal costs per year | 4332010.582
Coal costs per year | 25125661.3757
Operations and Maintenance costs
O&M [$/kW] | 71
P [kW] | 13421.5471
Total O&M costs [$/year] | 952929.8472
Total O&M costs [NOK/year] | 5526993.1138
Cost of Chemicals
Chemicals [$/kWh] | 0.00359
P [kW] | 13421.5471
W [kWh] | 117572752.9794
Total O&M costs [$/year] | 422086.1832
Total O&M costs [NOK/year] | 2448099.8625
Total
Total variable costs [$/year] | 47183771.352
Revenue
Price of electricity [kr/kWh] | 1
Price of district heating [kr/kWh] | 0.5
Total amount of electricity [kWh] | 84034680
Total amount of district heating [kWh] | 105120000
Revenue from electricity | 84034680
Revenue from district heating | 52560000
Total revenue | 136594680
Working capital
Working capital
Value of raw materials in inventory (60 days) | 1114538.7032
Spare parts (0.5 % of total plant cost) | 39559294.46
Total Working Capital | 40673833.1633

## Investment Analysis
Regneark for beregning av nåverdi og/eller intern rente.
Verdier som må innsettes nedenfor er i fet kursiv. Velg avskrivningsprinsipp. | [7 empty] | Internrente kan bestemmes ved å endre D37 til D40 = 0 (Raskest åbestemme ved "Goal seek")
|  | År ---> | Grunnl.data | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Investement |  |  | 1977964723.0019
working capital |  |  | 40673833.1633
1)Constant depreciation rate 10% |  |  | 10
2)Amount depreciation 20% |  |  | 20
Depreciation Factor ,amount depreciation | [5 empty] | 0.2 | 0.16 | 0.128 | 0.1024 | 0.08192 | 0.065536 | 0.052429 | 0.041943 | 0.033554 | 0.026844 | 0.021475 | 0.01718 | 0.013744 | 0.010995 | 0.0087961 | 0.0070369 | 0.0056295 | 0.0045036 | 0.0036029 | 0.0028823 | 0.0023058 | 0.0018447 | 0.0014757 | 0.0011806 | 0.00094447 | 0.00075558 | 0.00060446 | 0.00048357 | 0.00038686 | 0.00030949 | 0.00024759 | 0.00019807 | 0.00015846 | 0.00012677 | 0.00010141 | 8.113e-05 | 6.4904e-05 | 5.1923e-05 | 4.1538e-05 | 3.3231e-05 | 2.6585e-05 | 2.1268e-05 | 1.7014e-05 | 1.3611e-05 | 1.0889e-05 | 8.7112e-06 | 6.969e-06 | 5.5752e-06 | 4.4601e-06 | 3.5681e-06
Industrial investment |  |  |  | 0: -1977964723.0019
Service capital |  |  |  | 0: -40673833.1633
Recover of service capital
Annual sale income |  |  | 136594680 |  |  | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680 | 136594680
Annual service expenses |  |  | 47183771.352 |  |  | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352
Brutto service result | [5 empty] | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648
Depreciation | [5 empty] | 593389416.9006 | 514270827.9805 | 450975956.8444 | 400340059.9356 | 359831342.4085 | 327424368.3868 | 301498789.1695 | 280758325.7956 | 264165955.0966 | 250892058.5373 | 240272941.2899 | 231777647.4919 | 224981412.4536 | 219544424.4229 | 215194833.9984 | 211715161.6587 | 208931423.787 | 206704433.4897 | 204922841.2518 | 203497567.4614 | 202357348.4292 | 201445173.2034 | 200715433.0228 | 200131640.8782 | 199664607.1626 | 199290980.1901 | 198992078.6122 | 198752957.3498 | 198561660.3398 | 198408622.7319 | 198286192.6456 | 198188248.5765 | 198109893.3212 | 198047209.117 | 197997061.7537 | 197956943.863 | 197924849.5504 | 197899174.1004 | 197878633.7403 | 197862201.4523 | 197849055.6219 | 197838538.9575 | 197830125.6261 | 197823394.9609 | 197818010.4288 | 197813702.803 | 197810256.7025 | 197807499.822 | 197805294.3177 | 197803529.9142
Result before taxes | [5 empty] | -503978508.2526 | -424859919.3325 | -361565048.1964 | -310929151.2876 | -270420433.7605 | -238013459.7388 | -212087880.5215 | -191347417.1477 | -174755046.4486 | -161481149.8893 | -150862032.6419 | -142366738.8439 | -135570503.8056 | -130133515.7749 | -125783925.3504 | -122304253.0107 | -119520515.139 | -117293524.8417 | -115511932.6038 | -114086658.8135 | -112946439.7812 | -112034264.5554 | -111304524.3748 | -110720732.2302 | -110253698.5146 | -109880071.5421 | -109581169.9642 | -109342048.7018 | -109150751.6919 | -108997714.0839 | -108875283.9976 | -108777339.9285 | -108698984.6732 | -108636300.469 | -108586153.1057 | -108546035.215 | -108513940.9024 | -108488265.4524 | -108467725.0923 | -108451292.8043 | -108438146.9739 | -108427630.3095 | -108419216.9781 | -108412486.3129 | -108407101.7808 | -108402794.155 | -108399348.0545 | -108396591.174 | -108394385.6697 | -108392621.2662
Tax,Percentaje 28% |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net profit | [5 empty] | -503978508.2526 | -424859919.3325 | -361565048.1964 | -310929151.2876 | -270420433.7605 | -238013459.7388 | -212087880.5215 | -191347417.1477 | -174755046.4486 | -161481149.8893 | -150862032.6419 | -142366738.8439 | -135570503.8056 | -130133515.7749 | -125783925.3504 | -122304253.0107 | -119520515.139 | -117293524.8417 | -115511932.6038 | -114086658.8135 | -112946439.7812 | -112034264.5554 | -111304524.3748 | -110720732.2302 | -110253698.5146 | -109880071.5421 | -109581169.9642 | -109342048.7018 | -109150751.6919 | -108997714.0839 | -108875283.9976 | -108777339.9285 | -108698984.6732 | -108636300.469 | -108586153.1057 | -108546035.215 | -108513940.9024 | -108488265.4524 | -108467725.0923 | -108451292.8043 | -108438146.9739 | -108427630.3095 | -108419216.9781 | -108412486.3129 | -108407101.7808 | -108402794.155 | -108399348.0545 | -108396591.174 | -108394385.6697 | -108392621.2662
Despreciation | [5 empty] | 593389416.9006 | 514270827.9805 | 450975956.8444 | 400340059.9356 | 359831342.4085 | 327424368.3868 | 301498789.1695 | 280758325.7956 | 264165955.0966 | 250892058.5373 | 240272941.2899 | 231777647.4919 | 224981412.4536 | 219544424.4229 | 215194833.9984 | 211715161.6587 | 208931423.787 | 206704433.4897 | 204922841.2518 | 203497567.4614 | 202357348.4292 | 201445173.2034 | 200715433.0228 | 200131640.8782 | 199664607.1626 | 199290980.1901 | 198992078.6122 | 198752957.3498 | 198561660.3398 | 198408622.7319 | 198286192.6456 | 198188248.5765 | 198109893.3212 | 198047209.117 | 197997061.7537 | 197956943.863 | 197924849.5504 | 197899174.1004 | 197878633.7403 | 197862201.4523 | 197849055.6219 | 197838538.9575 | 197830125.6261 | 197823394.9609 | 197818010.4288 | 197813702.803 | 197810256.7025 | 197807499.822 | 197805294.3177 | 197803529.9142
Net cash flow |  |  |  |  | -1977964723.0019 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648 | 89410908.648
Accumulated cash flow | Net cash flow |  |  | 0 | -2018638556.1652 | -1929227647.5172 | -1839816738.8692 | -1750405830.2212 | -1660994921.5732 | -1571584012.9252 | -1482173104.2772 | -1392762195.6292 | -1303351286.9812 | -1213940378.3332 | -1124529469.6852 | -1035118561.0372 | -945707652.3892 | -856296743.7412 | -766885835.0932 | -677474926.4452 | -588064017.7972 | -498653109.1492 | -409242200.5012 | -319831291.8532 | -230420383.2053 | -141009474.5573 | -51598565.9093 | 37812342.7387 | 127223251.3867 | 216634160.0347 | 306045068.6827 | 395455977.3307 | 484866885.9787 | 574277794.6267 | 663688703.2747 | 753099611.9227 | 842510520.5707 | 931921429.2187 | 1021332337.8667 | 1110743246.5147 | 1200154155.1627 | 1289565063.8107 | 1378975972.4587 | 1468386881.1067 | 1557797789.7547 | 1647208698.4027 | 1736619607.0506 | 1826030515.6986 | 1915441424.3466 | 2004852332.9946 | 2094263241.6426 | 2183674150.2906 | 2273085058.9386 | 2362495967.5866 | 2492580709.3979
Test1 :
Discount factor at 10 % |  |  |  |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864 | 0.13513 | 0.12285 | 0.11168 | 0.10153 | 0.092296 | 0.083905 | 0.076278 | 0.069343 | 0.063039 | 0.057309 | 0.052099 | 0.047362 | 0.043057 | 0.039143 | 0.035584 | 0.032349 | 0.029408 | 0.026735 | 0.024304 | 0.022095 | 0.020086 | 0.01826 | 0.0166 | 0.015091 | 0.013719 | 0.012472 | 0.011338 | 0.010307 | 0.0093704 | 0.0085186
Discount NKS |  |  |  |  | -1977964723.0019 | 81282644.2255 | 73893312.9322 | 67175739.0293 | 61068853.663 | 55517139.6936 | 50470126.9942 | 45881933.6311 | 41710848.7555 | 37918953.4141 | 34471775.831 | 31337978.0282 | 28489070.9347 | 25899155.3952 | 23544686.7229 | 21404260.6572 | 19458418.7793 | 17689471.6175 | 16081337.8341 | 14619398.031 | 13290361.8464 | 12082147.1331 | 10983770.121 | 9985245.5645 | 9077495.9677 | 8252269.0616 | 7502062.7833 | 6820057.0757 | 6200051.887 | 5636410.8064 | 5124009.824 | 4658190.7491 | 4234718.8628 | 3849744.4207 | 3499767.6552 | 3181606.9593 | 2892369.963 | 2629427.2391 | 2390388.3991 | 2173080.3629 | 1975527.6026 | 1795934.1842 | 1632667.4402 | 1484243.1274 | 1349311.934 | 1226647.2127 | 1115133.8298 | 1013758.0271 | 921598.2064 | 837816.5513 | 761651.4103 | -1091472150.6246
Current value |  |  |  | 0: -1091472150.6246
Test 2:
Discount factor at 20 % |  |  |  |  | 1 | 0.83333 | 0.69444 | 0.5787 | 0.48225 | 0.40188 | 0.3349 | 0.27908 | 0.23257 | 0.19381 | 0.16151 | 0.13459 | 0.11216 | 0.093464 | 0.077887 | 0.064905 | 0.054088 | 0.045073 | 0.037561 | 0.031301 | 0.026084 | 0.021737 | 0.018114 | 0.015095 | 0.012579 | 0.010483 | 0.0087355 | 0.0072796 | 0.0060663 | 0.0050553 | 0.0042127 | 0.0035106 | 0.0029255 | 0.0024379 | 0.0020316 | 0.001693 | 0.0014108 | 0.0011757 | 0.00097974 | 0.00081645 | 0.00068038 | 0.00056698 | 0.00047248 | 0.00039374 | 0.00032811 | 0.00027343 | 0.00022786 | 0.00018988 | 0.00015823 | 0.00013186 | 0.00010988
Discount NKS |  |  |  |  | -1977964723.0019 | 74509090.54 | 62090908.7833 | 51742423.9861 | 43118686.6551 | 35932238.8792 | 29943532.3994 | 24952943.6661 | 20794119.7218 | 17328433.1015 | 14440360.9179 | 12033634.0983 | 10028028.4152 | 8356690.346 | 6963908.6217 | 5803257.1847 | 4836047.6539 | 4030039.7116 | 3358366.4263 | 2798638.6886 | 2332198.9072 | 1943499.0893 | 1619582.5744 | 1349652.1454 | 1124710.1211 | 937258.4343 | 781048.6952 | 650873.9127 | 542394.9272 | 451995.7727 | 376663.1439 | 313885.9533 | 261571.6277 | 217976.3564 | 181646.9637 | 151372.4697 | 126143.7248 | 105119.7707 | 87599.8089 | 72999.8407 | 60833.2006 | 50694.3338 | 42245.2782 | 35204.3985 | 29336.9988 | 24447.499 | 20372.9158 | 16977.4298 | 14147.8582 | 11789.8818 | 9824.9015 | -1530959304.2696
Current value |  |  |  | 0: -1530959304.2696
Discount factor at rentage |  |  | 3.8301 |  | 1 | 0.96311 | 0.92758 | 0.89337 | 0.86041 | 0.82867 | 0.79811 | 0.76867 | 0.74031 | 0.713 | 0.6867 | 0.66137 | 0.63697 | 0.61348 | 0.59085 | 0.56905 | 0.54806 | 0.52784 | 0.50837 | 0.48962 | 0.47156 | 0.45416 | 0.43741 | 0.42127 | 0.40573 | 0.39077 | 0.37635 | 0.36247 | 0.3491 | 0.33622 | 0.32382 | 0.31187 | 0.30037 | 0.28929 | 0.27862 | 0.26834 | 0.25844 | 0.24891 | 0.23973 | 0.23088 | 0.22237 | 0.21416 | 0.20626 | 0.19866 | 0.19133 | 0.18427 | 0.17747 | 0.17093 | 0.16462 | 0.15855 | 0.1527
Discount NKS |  |  |  |  | -1977964723.0019 | 86112710.9618 | 82936177.4902 | 79876820.2726 | 76930316.9009 | 74092504.412 | 71359373.407 | 68727062.3857 | 66191852.2914 | 63750161.2565 | 61398539.5413 | 59133664.6607 | 56952336.6895 | 54851473.7419 | 52828107.6167 | 50879379.6042 | 49002536.4469 | 47194926.4497 | 45453995.7336 | 43777284.6273 | 42162424.1919 | 40607132.8744 | 39109213.2837 | 37666549.0863 | 36277102.0163 | 34938908.9956 | 33650079.36 | 32408792.1886 | 31213293.7307 | 30061894.9281 | 28952969.0286 | 27884949.288 | 26856326.7563 | 25865648.1455 | 24911513.7769 | 23992575.6033 | 23107535.3041 | 22255142.4515 | 21434192.7436 | 20643526.3028 | 19882026.0371 | 19148616.0622 | 18442260.1807 | 17761960.4189 | 17106755.6162 | 16475720.0676 | 15867962.2154 | 15282623.3898 | 14718876.5957 | 14175925.3444 | 13653002.528 | 2.1644e-05
Internal rent |  |  | 3.8301
Current value |  |  | 2.1644e-05 | 0: Goal seek:"Set cell d40 to 0 by changing cell d37"