# Interfacial and bulk thermal conductivity from dynamic temperature profiles on one side of sample

Z. Zeng and T. I. Malik

ICI Wilton Applied Research Group, Wilton Centre, UK

Abstract

Reliable and rapid measurement of thermal conductivity (k) is one of the most important current industrial requirements. This experimental, theoretical and modelling study examines the validity of measurements from probes that apply momentary heat on one side of the sample and infer the thermal conductivity from the temperature response obtained through assumed heat transfer models. It is shown that there is a critical sample thickness below which the inferred values will be compromised by the material above the sample. With sufficient sample thickness, the measurement obtained is still influenced by interfacial resistances present (e.g. sensor to sample) and these should be removed with the help of contact agents (CAs). We show how the dynamic temperature responses at the sensor surface (and hence the inferential capacity of the technique) are influenced by critical system parameters through one dimensional dynamic heat transfer models. Separate FEM models helped in establishing the extent of validity of the one dimensional assumption. Experimental data on selected cases with and without contact with metallic weights show how the critical thickness required increases with sample thermal conductivity. The measurements with and without weight converge towards each other and then remain steady with further increase in sample thickness.

Keywords: Bulk thermal conductivity, Interfacial thermal conductivity, Inferential Measurements, Dynamic Modelling

Introduction

The development of new specialty materials that give both good bulk and interfacial thermal properties in addition to satisfying other (e.g. mechanical) property constraints is becoming increasingly important in many new technology applications (Ref.1). For example, in new generation, high density, electronic chip architectures, sufficiently fast heat removal rate to maintain sensible device temperatures under full load is critical. This requires the combined thermal performance of several contacting material layers to be sufficiently fast. Both the interfacial and bulk thermal conductivity of an individual material layer can be important and could limit the overall thermal performance. Further complication arises due to the composite nature of some of the materials with many inclusion interfaces within the bulk. The ability to infer the thermal properties from quick measurements under realistic application conditions is very useful and increasingly necessary. There are many commercial tools and methods available but it is not always clear how to interpret the results as both bulk and interfacial properties contribute towards the measurement obtained. Also, it is not always clear what sample thickness is necessary for the measurement not to be compromised by the surroundings. Once a measurement is obtained, it is desirable to be able to decipher the extent of the different contributions but by definition this is difficult as the inferential measurement technique itself is based on the assumption of no interfacial resistance.

In this paper, we deal with these issues through focus on single sided, thermal conductivity probes (e.g. see Refs.2,3) that apply a small amount of heat on one side of the sample. Such probes can give a rapid measurement in a matter of seconds and can be used both in the laboratory and within industrial unit operations. In the latter case, the inferred k may be an indicator of a given state in the process and used as an aid to process and quality control. The rate of change of temperature at the probe depends on both the sample and probe properties. The surrounding conditions, e.g. ambient temperature and humidity, if weights are placed above the sample and contact agent (CA) is used between the probe and the sample could also impact the readings. It is surmised that a sample with higher k, heat capacity and density will have a greater ability to leak out the heat from the source. Thus under standard calibrated conditions, the rate of change of temperature for a given sample can be used to deduce its thermal conductivity given sample thermal capacity and probe properties are known.

We show, for the case, where effective one dimensional heat transfer can be assumed, how the inferring of the bulk thermal conductivity requires a minimum thickness of the sample and minimisation of any interfacial thermal resistance, in particular between the sensor and the sample. However, these conditions may not be met or the key interest may indeed be in the interfacial conductance (Cc) itself. For an unlayered sample, there is a second interfacial resistance, that of the sample to the air that impacts on the temperature transient for sufficiently thin samples. We define the critical thickness for the sample as the largest value that gives feedback to the sensor under the test conditions used and within the test time domain. We seek to know how this is influenced by the material’s properties. We define an equivalent material (Fig.1) at the critical thickness that has no interfacial resistance but gives the same measurement as the material with interfacial resistance. As far as the probe is concerned, it does not know about any interfaces, it works out an overall thermal conductivity value based on the temperature dynamic obtained. If assuming that the probe is capable of returning a legitimate overall equivalent conductivity then simple algebraic expressions can be used to decipher the individual bulk and interfacial contributions. However, in practice the probe value will only be an approximation to this ideal, as there are non-linearities in the inferential calculation and the exact critical thickness will also be required. Nevertheless, despite these limitations, the algebraic equations could offer some quick indication of the interfacial conductivity providing the bulk k is known or determined from a separate test. This is better than having no measurement based estimate at all.

Sensitivity of temperature change rate at sensor

It is the sensitivity of temperature change rate to the thermal conductivity that determines the capability of such a device to infer the same. This will be helped if the probe itself is made of material of relatively low thermal conductivity, thus the bulk of heat will travel to the sample. For a very thick sample the heat will penetrate only the sample and the source temperature will not be influenced by the air or other material above. The higher the sample thermal conductivity the faster will be the rate of heat transfer for a given temperature driving force. The higher the thermal capacity of the sample (and hence its specific heat and density) the longer it will take for its temperature to rise and hence a higher temperature driving force will be maintained for longer. On the other hand, to increase the sensitivity at the probe itself, its thermal capacity should be relatively low, to give relatively high temperature changes there. This gives the concept of thermal feedback to the source point, where the temperature dynamic is influenced by properties and events further away within the short time domain of the test. See (Ref.2,3) for typical probe construction rationale used and the method used to infer the thermal conductivity. See Fig.1 for equivalent samples as ‘seen’ by the probe and Fig.2 for a schematic of a system for the dynamic model.

Fig. 1 shows the equivalence between a single layered sample, a two layered sample and an equivalent sample as viewed by the probe assuming the overall sample thickness is at critical for the measurement. The top left shows how a single sample will conduct heat once it has traversed the interface (thus T1 and Ti are different giving temperatures at the two sides of the interface). For the two layered case shown in top right, an additional interface and temperature variables are introduced. Both cases can be transformed to the equivalent case where there is only a single contiguous material without interfacial resistance. The equations are derived for a single sample case with one interfacial resistance in Eq.1 to Eq.6. Similarly, Eq.7 to Eq.12 repeat the derivation for the two sample case with only one interfacial resistance between the two samples (that between sensor and sample 1 is assumed as zero). Note strict conditions are required for these relationships to be valid for any of the probe measurements. Even if the sample thickness is exactly right, the accuracy depends on the capability of the probe to return an equivalent overall value. It will need further work to establish that.

Dynamic modelling sensitivity studies.

Both finite element (FEM) and equation based lumped dynamic models have been used to understand the behaviour of a thermal conductivity probe and its sensitivity to different parameters for the sample and the interfaces. Fig. 3 shows example outputs from axi-symmetrical, finite element models and show temperature maps at given time snapshots with a) showing a typical case of interfacial resistance and sample conductivity. Fig.3 (b) shows the case when the interfacial resistance is zero and the bulk k of the sample is very high. The heat disperses very quickly when it enters the sample and hence the sample temperature remains low above the interface (shown by the horizontal line). In Fig. 3 (c), Cc is zero and the sample once again remains at low temperature, but in this case it is due to no heat being transferred there. The FEM models show that in the central part of the probe, the assumption of one dimensional heat transfer up and down the model domain is reasonable. Such assumptions are used in the algorithms used for inferring the thermal conductivity from the probe.

Assuming the validity of the one dimensional heat flow assumption, it is possible to carry out dynamic model analysis through one dimensional heat transfer models. These can be implemented readily in Equation Based modelling environments (e.g. see Ref.4). (We used Aspen Custom Modeller, Ref.5) for implementing these models. Fig. 2 above shows the general schematic used for such a model showing that the sample is split into a number of slices. These can be as many as required for a given accuracy, in our studies 10 were used. The bulk k of each sample can be set separately as well as for the sensor and the matrix material of the probe. A number of Cc values are specified in the model with Cc4 and Cc5 representing the interfacial conductance to the surrounding air. Note that it is assumed that the sides of the probe are well insulated. In the model the surrounding air velocity can be set and the Cc can be obtained as a function of this through typical convective heat transfer correlations. The model works out a differential heat balance for each slice taking into account the bulk and interfacial resistances present and works out a temperature for each slice and interface. These temperatures provide the driving forces for the heat transfer equations between the slices and through the interfaces. Some results for a single sample case are shown in Fig.4. Here both sensor temperature (the top four lines) response and the surface temperature response are shown for the four cases (two thicknesses and two bulk k values). The response is far more sensitive to k than it is to sample thickness in these cases. The surface response is biggest as expected for the highest k and thinnest sample case. Similarly, Fig.5 shows the dynamic model results for the case with two samples, each modelled as 10 slices. The sensitivities to the two key Cc that between sensor and sample 1 and between the two samples are shown. The curve with the highest slope is obtained when Cc1 is very low, thus not allowing heat to leak out. This would also lead to a low ko value.

Experimental Study.

Here we report on selected measurements using a probe. The sample was either directly placed on the probe or with a CA in between to increase Cc. There may be a metal weight (to give clamping pressure) placed above the sample either in contact via a CA or through a thermally insulating layer (foam). Fig. 6 shows the ko values inferred for a low k material A and a relatively high k material B. Multi-layered samples of different thicknesses have been combined together with CA to obtain the overall thickness shown in the diagram. The descending line is for the case where there is direct contact with metal weights while the ascending line is without. It shows that effective CA has been obtained as there is no significant difference between the different points with different number of layers. It indicates that the critical thickness of material A is only about 400 (m since the ko values measured converge on each other and are no longer affected by the surroundings. For material B with a much higher k, the critical thickness has increased to 8 mm. The inner of the bottom curves has the same weights but applied via a thermally insulating foam while the bottom curve is obtained without any weights. For this material, thermal properties of the weight gave much stronger impact than it did for improving interfacial contact when directly in contact, below the critical thickness.

Table 1 shows the impact of CA on materials C and D. C is rigid and the impact of pressure is minimal but CA makes a large change to the measured ko. Material D is soft and under its own weight can achieve good interfacial compliance so that there is not much impact when additional pressure applied without CA. CA without pressure has in fact reduced measured ko value and this may be because the conductivity of the CA itself has influenced the reading. However, as expected, the excess CA is squeezed out when additional weight applied and the maximum ko is obtained. Clearly, the interfacial resistance for material C is much greater than material D. In all cases, a strategy to measure bulk k involves the application of an effective CA and weight if appropriate to remove as far as possible the interfacial resistance. Thus with C, this would give the bulk conductivity as 0.6 Watt/mK. Eq. 6 can be used to obtain an approximate Cc for the case without CA. For material C, this gives Cc as about 280 Watts/m2K. It will be much higher for Material D. As mentioned above there are many caveats in relation to use of Eq. 6. For example, sample thickness must be at the right value and the measurement to be the final equilibrium value. (There are cases with soft materials where a transient improvement to ko is obtained as the material settles under its own weight).

|  | Material C, Rigid sample | Material D, soft sample |
| --- | --- | --- |
|  | Contact agent | No contact agent | Contact agent | No contact agent |
| Pressure | 0.60 | 0.29 | 5.87 | 5.71 |
| No pressure | 0.60 | 0.29 | 5.19 | 5.70 |

Table 1 – The impact of contact agent on ko (W/mK) measurements for Materials C and D.

Conclusion

It has been shown that there is a critical thickness above which the inferred k values from a single sided probe are not influenced by the k of the surrounding materials. The critical thickness does depend upon the bulk k of the sample as well as the Cc with the sensor providing the heat. For a sample case with k about 10 Watt/mK the critical thickness is 8 mm. This reduced to only 400 (m for a sample with bulk k less than 1 Watt/mK. A way to have a first approximation of interfacial resistance is to measure the ko with both CA applied or not. Assuming effective CA is applied, the measurement approximates to the material bulk k. This can then be used to back calculate the interfacial resistance assuming the measurement without CA gives an equivalent overall conductivity. Future publications will examine in more detail the extent to which these types of probes are capable of giving an accurate equivalent k value. Good methods could enable reliable and fast measurements for Cc. The critical thickness can be obtained by repeating the ko measurements with different sample thicknesses, if necessary with layered samples with CA in between. Soft layered materials were found amenable to relatively good conformance even without CA due to their own weight but the harder samples could give much bigger changes in ko value upon applying CA. The bulk k is closest to the ko value when effective CA applied. The impact of clamping pressure highly depends on the modulus of the material with softer materials influenced by the pressure, possibly in a time dependent manner. Dynamic modelling based sensitivity studies have shown the potential for such techniques also to detect other interfacial resistances e.g. between two samples assuming that CA is applied at the first interface. However, further development is also subject to the above constraints on the ability of the probe to give an accurate overall system conductivity.

References

[1]  “Thermal Contact Conductance”, C. V. Madhusudana, Springer Mechanical Engineering Series, ISBN 0-387-94534-2 1996 Springer-Verlag New York Inc.

[2]  “Direct Thermal Conductivity Measurement Technique”, Mathis, N. and C. Chandler, United States Patent, US 6,676,287 B1, 2004.

[3]  “New Transient Non-Destructive technique measures thermal effusivity and thermal diffusivity, Mathis, N.E. , Proc. 25th Int. Thermal Conductivity Conf., 1999.

[4]  “Application of same equation based model from steady state design to control system analysis and operator training”, Garlick, S., Malik, T.I. and Tyrrell, M.J., Computers chem. Engng. Vol.18, Suppl., pps493-s497, 1994, Pergamon press.

[5]  http://www.aspentech.com/products/aspen-custom-modeler.

# Text boxes

Figure 1 – Single, two layered and equivalent samples.

Figure 2 – Schematic showing probe and two layered sample (sliced for 1D dynamic model).

Equations Set 2 – Two samples above each other with single contact resistance (1/CC) between them.

Equations Set 1 – Single sample with contact resistance (1/CC) with sensor

Figure 4 One dimensional, sliced, dynamic model sensitivity results (surface and sensor temperature responses with k and sample thickness varying

Figure 3 FEM dynamic model snapshots with a) medium Cc b) v. high Cc and sample k and c) 0 Cc

K Mat

Cc3

Cc4

Cc2

K Sam1

K Sam2

Cc5

K Sen

Cc1

Air

Sensor

Power introduced half way below sample

Sample Materials

10 Slices

Extent of Model Domain

Matrix material only 1 slice

Figure 5 – Dynamic temperature sensitivity results for two samples 1) Medium Cc1+Cc2 2) High Cc2 3) High Cc1 4) Low sample 2 k and 5)  Very low Cc1

Figure 6 – Apparent thermal conductivities ko from probe