## Slide 1: Optimal PID control
of double integrating processes
Chriss Grimholt* and Sigurd Skogestad
*Present affiliation: ABB, Olso

## Slide 2: Double integrators: Outline
They are common
They are difficult to control
Control approaches
SIMC PID-tunings
Optimal trade-off between performance (J=IAE) and robustness (Ms)
Comparison of SIMC with IAE-optimal PID tunings
Optimal Serial vs. Optimal Parallel PID
Generalized SIMC for “slow” second-order process
Conclusion

## Slide 3: Double integrating processes are common
Example 1: Force (F) to position (x)
x
Example 2 (almost integrating): Two large tanks in series
u = F
y = x
T1
8
Q
T0
T2
8
T2
u = Q
y = T2

## Slide 4: Double integrators are difficult to control
Unstable with P-only control (so Ziegler-Nichols does not work)
With I-action: Need derivative action (PI unstable)
Nyquist plot of L=GK
Bode plot of L=GK
Both an upper and lower gain margin (GM)

## Slide 5
Input disturbance for double int.: IAE(y) ~ θ3
1.
2.
4.
Double integrators are difficult to control
du
dy
du

## Slide 6: How to control double integrator?
1. Easy if we can use two measurement (y, y’): Cascade control or State feedback
2. Only measurememnt of y: Need a well-tuned controller (PID sufficient)
u = Q
y’ = T1
y = T2
T1
8
Q
T0
T2
8
T2
TC
TC
T2s
T1s
T1
8
Q
T0
T2
8
T2
TC
T2s
u = Q
y = T2

## Slide 7: SIMC PID-tunings for double integrator
(Skogestad, 2003)
Model:
SIMC for double integrating process:
This is for the Serial PID controller:
Tuning constant (τc):
Adjust to trade off between performance and robustness
Normally recommended value:
For double integrating, a better value is:

## Slide 8: Optimal PID control
Many issues to consider, including:
  Output Performance
  Stability robustness
  Input usage
  Noise sensitivity
Consider only the main trade-off (high-gain versus low gain)
  Output Performance (IAE)
  Robustness (Ms-value)

## Slide 9: Quantifying the optimal: Performance
Performance: weighted sum of Integral absolute error (IAE) for input and output disturbances
Normalization factors
Input disturbance
Output disturbance
Input and output disturbance performance
4.15
288.56

## Slide 10: Quantifying the optimal: Robustness
Robustness: Largest sensitivity peak (Ms)
Closest distance to the critical point

## Slide 11: Optimal trade-off between performance (J=IAE) and robustness (Ms)
The optimal controller is found by solving:
Optimal trade-off curves are found solving the optimization problem repeatedly for different robustness (Ms) levels
Upper bound on robustness
Poor robustness
Good robustness
Note: Results are with k’’=1 and θ = 1.

## Slide 12: Optimal* PID vs. SIMC-PID
Simple SIMC-rukes are Almost Optimal !!!
This came as a surprise to us
Good robustness
*OptimaL serial form PID

## Slide 13: Optimal* vs. SIMC
Good robustness
*OptimaL serial form PID

## Slide 14: Optimal Serial vs. Optimal Parallel PID
Serial PID:
Parallel (=“Ideal”) PID:
Parallel is more general: Can have complex zeros
Convert serial parameters to parallel by
Small difference!
(especially in high performance region)

## Slide 15: Time response comparison

## Slide 16: Generalized SIMC for “slow” second-order process
Second order process:
2. For large time constants (τ2 > 8θ, approx.) second-order process can be considered as double integrating
with
1. “Original” SIMC PID-rule for second-order process: τd = τ2
Get improved PID-rule:
New parts

## Slide 17: Generalized SIMC for “slow” second-order process
Approximate double integrating process:
Much better to approximate
as double integrating!
Second order process w/large time constant:

## Slide 18: Conclusions
Double integrating processes are common, but difficult to control, IAE ~ θ3
If possible: Introduce extra measurements closer to input and use cascade control
Otherwise: Use well-tuned controller
  SIMC-tunings for double integrating process are simple
  And close to optimal !!
  SIMC: τc = 1.5θ is a good starting point for double integrating processes.