##### Septic Training Course: Lesson 3

Goal:

- Control 4 x Cvr with 5 x Mvr, learn more about tuning and priorities.

- Getting familiar with som more functions in Septic

###### Preparation

The config file of this lesson is MPC_Del2.cnfg. Some changes from Lesson 2:

- Dvrs Fin, F1, Heat1 and F2 are chenged to Mvrs

- Tvrs L1, T1 and L2 are changed to Cvrs

- An MPC table has been defined in group 7 (MpcTabell display group)

Look through the config file for these changes. Note that L1 and L2 are configured with the parameter Integ= 1, this is necessary for integrating variables like an uncontrolled level. The experimental step response type models assume that the response is steady after the last model coefficient, while an uncontrolled level is (almost) never stable after a flow change, but the level change per time unit is principally stable. So Septic must be told that the level is an integrator such that the model can be made for the time derivative of the level.

###### Exercise 1: Generate models

First, copy the 3 models from lesson 2 to the subfolder models of øving3. Then make a subfolder adoc and copy the general part of the HTML doc.

Put + or – into the table below where you expect a model between the Mvr/Dvr and the Cvr. A + for positive gain in the model and a - for negativ gain. The starting point is the uncontrolled process.

|  | Cvr: L1 | Cvr: L2 | Cvr : T1 | Cvr : T2 |
| --- | --- | --- | --- | --- |
| Mvr : Fin |  |  |  |  |
| Mvr : F1 |  |  |  |  |
| Mvr : F2 |  |  |  |  |
| Mvr : Heat1 |  |  |  |  |
| Mvr : Heat2 |  |  |  |  |
| Dvr : Tin |  |  |  |  |

Start Septic and make all the models you need by the same method as was used in Lesson 2. The step size for the Mvr/Dvr must be larger that 10% of the Span for the actual variable to be defines as a step, at the same time you should avoid to large flow steps due to the level ranges. Remember Apply to activate and file save of the models. Write the resulting steady state process gain in the table below, for L1 and L2 that means gains against the time derivatives. Compare to your expected + and - before starting and comment.

|  | Cvr: L1 | Cvr: L2 | Cvr : T1 | Cvr : T2 |
| --- | --- | --- | --- | --- |
| Mvr : Fin |  |  |  |  |
| Mvr : F1 |  |  |  |  |
| Mvr : F2 |  |  |  |  |
| Mvr : Heat1 |  |  |  |  |
| Mvr : Heat2 |  |  |  |  |
| Dvr : Tin |  |  |  |  |

Exit Septic.

###### Exercise 2: Verify models

###### Theory/motivation

The experimental step response models are linear. This means that Septic will use them in all process states and simply scale the expected responses according to the changes in the Mvrs and Dvrs. Septic will also use the principle of superposition, which means that the resulting Cvr response is the sum of the individual responses to each Mvr/Dvr. Most often, such models will be good enough for control purposes.

If we know the process nonlinearities, some nonlinear compensation can be done by changing the model gains and sometimes also the model dynamics dependent on the process state. This can be easily realized in Septic and is used in some real applications. Examples:

- A Cvr for the controller output (valve) to keep the basic control loop unsaturated but at the same time almost fully open. This gives very different responses over the valve range.

- A Cvr for delta P in a distillation column to avoid flooding but still maximize up to that point. Relatively small changes can give large responses close to the flooding limit.

Strong process nonlinearities may call for a mechanistic model based on fundamental mass, energy and reaction balances. Septic can use such models (as we do in several blending applications at the moment). For our simulated process we might use a similar model in the MPC application as in the process.

###### Exercise

Copy the event series below into the config file:

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 50"

Event: MPC_Del2 N= 50 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 40"

Event: MPC_Del2 N= 100 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 40"

Event: MPC_Del2 N= 180 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 50"

Event: MPC_Del2 N= 260 Cmd= "/Appls/MPC_Del2/Mvrs/Heat2.DeasOn= 20"

Event: MPC_Del2 N= 340 Cmd= "/Appls/MPC_Del2/Mvrs/Heat2.DeasOn= 30"

Event: MPC_Del2 N= 420 Cmd= "/Appls/MPC_Del2/Mvrs/Fin.DeasOn= 15"

Event: MPC_Del2 N= 420 Cmd= "/Appls/MPC_Del2/Mvrs/F1.DeasOn= 15"

Event: MPC_Del2 N= 420 Cmd= "/Appls/MPC_Del2/Mvrs/F2.DeasOn= 15"

Event: MPC_Del2 N= 510 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 50"

Event: MPC_Del2 N= 550 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 40"

Event: MPC_Del2 N= 600 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 40"

Event: MPC_Del2 N= 680 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 50"

Event: MPC_Del2 N= 760 Cmd= "/Appls/MPC_Del2/Mvrs/Heat2.DeasOn= 20"

Event: MPC_Del2 N= 840 Cmd= "/Appls/MPC_Del2/Mvrs/Heat2.DeasOn= 30"

Save the config, and start Septic. Simulate 1000 steps with activated events.

Explain the process / model deviations for T1 and T2. Paste the expanded T1 plot below.

ANSWER: Expanded T1 plot, explanation of model discrepancy for T1 and T2.

Exit Septic, remove the event series from the config file and save the config.

###### Exercise 3: Modelling with process noise

Copy the noise prosess from lesson 2 into your current config file (at the correct place):

NoisProc:      Noise

NoisXvr:       NOIS

Text1=  ""

Text2=  ""

SgnlVldt=  OFF

SgnlHigh=  1e+010

SgnlLow=  -1e+010

Sine=  OFF

SineT=  5

SineA=  0.1

BiasA=  0

Ramp=  OFF

RampR=  0

RampMaxA=  0

Wite=  ON

WiteMaxA=  2

Iwite=  ON

IwiteMaxA=  0.2

Filt=  ON

FiltT1=  1

DmmyAppl:      Calc

Nhist=  1000

Npred=  0

Tvr:           NOIS   PlotMax= 10  PlotMin= -10  Meas= 0

CalcModl:      CalcMod

CalcPvr:     T2          Alg= "T2+NOIS"

Then copy/paste the event series below into the bottom of the config file:

Event: MPC_Del2 N= 10  Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 53"

Event: MPC_Del2 N= 130 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 47"

Event: MPC_Del2 N= 260 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 55"

Event: MPC_Del2 N= 400 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 49"

Event: MPC_Del2 N= 510 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 46"

Event: MPC_Del2 N= 650 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 55"

Event: MPC_Del2 N= 800 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.DeasOn= 50"

Save the config and start Septic. Activate events and simulate 1000 steps. The simulation is faster when fewer variables are displayed, so you can expand T2 when simulating.

Change to Plot 5, fetch the T2_Heat1 model, and expand it. Make a new model based on the last step in Heat1 (LastStepResponse). It picks all the noise, and the picture should look at least almost like that below:

The match of this model to the whole data window can be found by pressing Sim in the Toolbar, that function simulates the Cmodl with the historical Heat1 as input. Do this, and you will get the plot below:

The green curve in the window ”Y raw & filt” is the simulated response.

Then make a FIR model (use Toolbar). After a while you get a new blue model that may be better than the LastStepResponse model, but not that perfect as the red active model made from a noise-free simulation. Septic has calculated 100 model coefficients such that the model is the "best" representation  of the measured response in the entire window, that is based on all steps in Heat1. Septic has only the visible history available since data is stored in a circular buffer.

This way of modelling works reasonably well when there are no changes in other variables that affects T2 in between the Heat1 steps. Paste the expanded T2_Heat1 plot below.

Exit Septic. Open the config file and remove what you copied to do this exercise (noise and event series). Save the cleaned config file.

###### Exercise 4: Control a 2x2 system, weights and priorities

Heat 1 and Heat 2 shall be used to control T1 and T2.

###### Preparation

Open the config file, change the tuning parameters according to what you realized in Lesson 2. Concentrate on the variables that are to be activated (Heat1, Heat2, T1, T2). NOTE: Always a space between the keyword (e.g. "Fulf=") and the value you specify. Change Mode from TRACKING to ACTIVE for the 4 variables, and DesMode from TRACKING to ACTIVE for SmpcAppl. Save the config file.

Start Septic and exit again. Open MPC_Del2.out in a text editor and verify that there are no error messages. Call for assistance if there are any error messages.

###### Exercise

Start Septic. Simulate, change T1 and T2 set points and evaluate the responses. Tune if you are not satisfied, also impose som changes to the disturbance Tin. If you want to challenge the model errors yu can do so but still try to keep the levels within limits. If you change tuning, remember to update the config file so you get a correct restart.

Enter Explorer and browse the SepticDetails.html that you find on the adoc folder. Read carefully chapter 2 (priorities). Call the instructor to have it presented in English.

Lower Heat2 high limit to 40. Change T1 set point to 90 and T2 set point to 140. Simulate 100 steps. What happens and why?

Then double Fulf for T2. Simulate 100 steps more, describe what happens and why.

Change T2 Fulf back again. Change T1 SetPntPrio to 10. Change T2 SetPntPrio to 5. Simulate 100 steps, describe what happens and why.

Activate T1.High and then change it to 95. Change T1.HighPrio= 10. Simulate 100 steps, desribe what happens and why.

Change T1.HighPrio to 5. Simulate 100 steps, describe what happens and why.

Change T1.HighPnlty from 5 to 2.5. Simulate 100 steps, describe what happens and why.

Change T1.HighPrio to 3. Simulate 100 steps, describe what happens and why.

Paste a GUI plot for Plott 5 that shows Heat1, Heat2, T1 and T2 below.

Change Heat2.High to 90 and T2.SetPnt to 120. Simulate 100 skritt.

Sett så Heat2.Iv = 60 (aktiviser). Du har nå 3 ”settpunktstype” spesifikasjoner du ønsker å oppnå (T1.SetPnt= 90, T2.SetPnt= 120, Heat2.Iv= 60). Om du ser bort fra høy- og lavgrenser, har du pådrag nok til å klare det?

Simuler 100 skritt og kommenter.

Nå skal du realisere et prioritetshierarki som dette (høyest prioritet øverst):

- Respektere høygrensen på T1

- Oppnå settpunkt på T2

- Oppnå idealverdi på Heat2

- Oppnå settpunkt på T1

Når du har gjort det simulerer du 100 skritt. Endre så Heat2.Iv til 10 og simuler 100 skritt til. Oppnådde du det du skulle i forhold til prioritet?

Lim inn Plott 5 under her. Avslutt deretter Septic.

###### Oppgave 5: Regulering av totalsystem, inndeling i underapplikasjoner

Du skal nå lage en komplett regulator dvs:

- Mvr: Fin, F1, F2, Heat1, Heat2

- Cvr: L1, L2, T1, T2

- Dvr : Tin

NB: Dersom du nå har mindre enn 3 timer igjen av total øvingstid gir du nå MPC_Del2.cnfg et annet navn og renamer MPC_Del2_oppg5.cnfg til MPC_Del2.cnfg. MPC_Del2_oppg5.cnfg har implementert prioritetene (se under), underapplikasjonene (se under) og har noenlunde tuning for nivåregulering, men er ikke optimalisert med hensyn på temperaturregulering. Så dette må du i hvert fall gjøre.

Følgende målsettinger skal oppnås i prioritert rekkefølge:

- Mengde inn Fin skal ikke endres mer enn 0.1 T/H pr. eksekvering (10 s). Nedstrøms krav og oppstrøms prosesshensyn.

- Nivåene L1 og L2 skal holdes under høygrense på 80% og over lavgrense på 20%, PSD 90% og 10%, og skal trekkes mot 50% for at tankene skal beholde bufferkapasitet ved forstyrrelser.

- Temperaturen T1 skal holdes under 95 grader, utstyrskrav.

- Temperaturen T2 skal holdes på 120 grader, nedstrøms krav, standardavvik < 0.2 grader.

- Fødemengde Fin skal maksimaliseres, men kan ikke overstige 15 T/H som er myndighetspålagt.

- Temperaturen T1 skal holdes på 93 grader. Heat1 er billigere energi enn Heat2, men samtidig ønsker en å ligge med en viss avstand til grensen på 95 grader for å redusere sannsynligheten for å overstige denne ved forstyrrelser.

- Variasjoner i mengde ut F2 skal dempes, raske endringer er ugunstig for nedstrøms prosess. Dynamisk kan den imidlertid tillates å komme opp i 18 T/H.

Regulatoren skal deles opp i 2 underapplikasjoner, les om Gruppeinndeling og kritiske variable i HTML-dokumentasjonen:

- Temperaturregulering: Både T1, T2, Heat1 og Heat2 må være aktive for at denne skal virke.

- Nivåregulering: Både L1, L2, F1 og F2 må være aktive for at denne skal virke. Fin skal ikke kunne oppnå status ACTIVE derom ikke nivåreguleringen er ACTIVE.

Sørg for at de konfigurasjons- og tuningsendringene du gjør er oppdatert på konfigurasjonsfila når du avslutter oppgaven.

Benytt oppgaven til å gjøre deg kjent med MpcTabell i plottegruppe MpcTabell.

Besvarelsen på denne oppgaven er ett GUI-bilde av MpcTabell og ett GUI-bilde av Prosess (plott 1) som i historien viser endringer du har gjort for å sjekke om prioritetsrekkefølgene dine er riktige. Lim inn begge under her.

Husk at konfigurasjonsfila di skal gjenspeile det du har kommet fram til så langt. Avslutt Septic.

Til slutt limer du inn følgende eventrekke nederst i konfigurasjonsfila:

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/Fin.HighOn= 15"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/Fin.LowOn= 5"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.HighOn= 80"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/Heat1.LowOn= 0"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/F1.HighOn= 21"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/F1.LowOn= 2"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/Heat2.HighOn= 80"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/Heat2.LowOn= 10"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/F2.HighOn= 18"

Event: MPC_Del2 N= 10 Cmd= "/Appls/MPC_Del2/Mvrs/F2.LowOn= 2"

Event: MPC_Del2 N= 10  Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.Mode= STOPPED"

Event: MPC_Del2 N= 400 Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 25"

Event: MPC_Del2 N= 500 Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 55"

Event: MPC_Del2 N= 600 Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 40"

Event: MPC_Del2 N= 700 Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.Mode= TRACKING"

Event: MPC_Del2 N= 710 Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 25"

Event: MPC_Del2 N= 810 Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 55"

Event: MPC_Del2 N= 910 Ncycle= 1000 Cmd= "/Appls/MPC_Del2/Dvrs/Tin.DeasOn= 40"

Event: MPC_Del2 N= 1010 Cmd= "/Appls/MPC_Del2/Mvrs/Heat2.HighOn= 50"

Ncycle= 1000 på noen av eventene vil gi en syklisk aktivering av disse med 1000 skritts mellomrom.

Start opp igjen Septic, aktiviser eventrekka, simuler 1000 skritt, og så 1000 skritt til. Etter det kan du endre Heat2.High slik du vil selv og fortsette simulering i tilfelle du vil tune for å forbedre oppførsel av regulatoren. Når du er fornøyd oppdaterer du konfigurasjonsfila, restarter Septic, aktiviserer eventrekka og limer inn 2 bilder under her som viser oppførselen på henholdsvis de 1000 første og de 1000 neste skrittene.

Og dermed er det ”obligatoriske” øvingsopplegget ferdig. Avslutt Septic.

Dersom du har tid igjen kan du:

- Lese om SetpTref og IvROC i HTML-dokumentasjonen, evt. Teste de ut i konfigurasjonen din.

- Legge på målestøy på T2 og evt. T1 og simulere/tune for dette med eventrekka på

- Repetere litt det du har gjort gjennom disse øvingene for at det skal sitte bedre

- Gå til øving 4 som har tilsvarende konfigurasjon som det du finner på MPC_Del2_oppg5.cnfg men med en fysikalsk modell i stedet for eksperimentelle modeller i MPC-applikasjonen.